# FISCAL SUSTAINABILITY/

# ASSET MANAGEMENT PLAN

for

# INSERT SYSTEM NAME HERE

# Select as Appropriate: WATER or WASTEWATER PROGRAM

Prepared by:

Include Company Name/Municipality/Consultant

Month 20XX

Read instructions below and delete prior to finalizing plan

This template was created by the Environmental Finance Center at California State University, Sacramento (EFC at Sacramento State) to support small wastewater and drinking water systems in developing a simple Fiscal Sustainability/Asset Management (FS/AM) Plan.

As a condition of receiving funding from state-administered Clean Water State Revolving Fund (CWSRF) programs, wastewater systems are required to develop a fiscal sustainability plan (FSP) to ensure the investments result in sustainable systems. As required by Section 603(d)(1)(E) of the Federal Water Pollution Control Act (FWPCA), CWSRF loan recipients must document the following in an FSP:

- An inventory of critical assets

- An evaluation and implementation of water and energy conservation efforts

- A plan for maintaining, repairing, and replacing the treatment works

- A plan for funding the activities

Within the water industry outside of the CWSRF program, FSPs are more commonly referred to as asset management plans (AMPs). In some states, water systems seeking funding under a state-administered Drinking Water State Revolving Fund (DWSRF) program may be required to have an AMP, which is similar to the CWSRF’s FSP requirement. Beyond funding requirements, fiscal sustainability/asset management is a method “…widely adopted by the water sector as a means to pursue and achieve sustainable infrastructure” (Federal Water Pollution Control Act, 33 U.S.C. § 603.d.1, 2002).

This template guides the user through the required elements of an FSP, as well as those typical for an AMP. Generic text, tables, and figures are provided and can be used or modified as appropriate. The following highlighting scheme indicates special instructions to the author:

- Green highlighting indicates information or general instructions that should be deleted before submission

- Yellow highlighting indicates author should insert word/phrase

- Example language and descriptions are included in red text

- Standard language that must stay is in regular black text

An accompanying Excel file titled Fiscal Sustainability & Asset Management Tool is provided as a separate attachment and is meant to be used to create a majority of the tables presented in this document. References to worksheets in the file that can be used for those tables are included throughout the workplan.

When the document is modified and updated, delete all of the instructions and examples, format the document accordingly, and update the table of contents (TOC) as needed to include any updated section headings and numbers. Ensure the page numbers correspond to the page numbers included for each section.

TABLE OF CONTENTS

1.0	INTRODUCTION	1

2.0	BACKGROUND	2

3.0	INVENTORY OF CRITICAL ASSETS	3

4.0	COSTS	6

5.0	REVENUE AND FUNDING PLAN	11

6.0	WATER AND ENERGY CONSERVATION PRACTICES	14

7.0	REFERENCES	15

# INTRODUCTION

This section is intended to provide an overview of why the document was created and what it contains.

Include a summary of:

- Purpose of this document

- Any current agreements with funding authorities affecting what this plan is required to include (e.g., if this document is to serve as a FSP as required by a CWSRF program)

- Plan for future updates

- Who is responsible for implementation

Example:

This document serves as an asset management plan (AMP) for the City of A’s wastewater program (System) that includes a collection system, a wastewater treatment plant (WWTP), and a land disposal system. This AMP includes the following information:

- An inventory of critical assets

- An evaluation and implementation of water and energy conservation efforts

- A plan for maintaining, repairing, and replacing the treatment works

- A plan for funding the activities

This AMP will be updated approximately every three years to reflect the System’s most recent information, conditions, and needs.  Table 1 provides contact information for those responsible for FSP implementation.

Table 1. Parties Responsible for Plan Implementation

| Name, Title | Organization | Phone | Email |
| --- | --- | --- | --- |
| Jane Doe, Water and Wastewater Supervisor | City of A Utility Services | 555-555-5555 | Jane.doe@cityA.gov |

# BACKGROUND

This section is intended to provide an overview of the existing system, including a description of the system’s location, population served,  facilities, and existing operational challenges or violations. This provides important context for the asset inventory. Description of assets, funding sources, and fees and revenue schedule that will be addressed in later sections.

Include a description of the following:

- System location, including figure

- Population served

- System facilities, including figure

- Operational challenges or violations and previous attempts to address them

Example:

The System is located in the City of A in the northern region of State B (Figure 1) and provides wastewater services to 477 residential, commercial, and industrial customers. Of these, 360 are residential properties. Wastewater from properties is directed to a WWTP located at 555 C Street. The System is owned and operated by the City of A.

The WWTP (Figure 2) consists of two facultative ponds, a ballast pond, rock filters, and a chlorine contact basin. The WWTP discharges treated wastewater to an agricultural ditch, Lateral D, which flows into Canal E and ultimately may flow into Creek F.

Figure 1. System Location [insert map of system location above this figure title]

Figure 2. System Layout [insert system layout above this figure title]

The System’s WWTP discharges are regulated by the County of G through a National Pollutant Discharge Elimination System (NPDES) permit (permit #55555555). After being cited for violating terms of its NPDES permit, the System evaluated multiple options for achieving compliance and decided to discontinue discharging wastewater effluent to the ditch. In its place, the System planned to upgrade its WWTP so that the effluent would be discharged to land, one of the compliance alternatives identified in a recently completed alternatives study. Over the last several years, the System has been upgrading various elements of its treatment system to achieve compliance.

# INVENTORY of Critical Assets

This section is intended to describe how critical assets are defined and tabulate assets and various asset attributes.

Include a description of the System’s approach to developing an asset inventory, including the System’s definition of critical assets. The definition is usually based on the costs of replacing/maintaining an asset or the function of the asset day-to-day. For more information on developing an asset inventory, please refer to the Environmental Finance Center Network’s online Asset Management KAN Work Tool:

https://swefc.unm.edu/home/amkan/main.php?chapterId=Chapter3&page=11#3.8

Example:

The System’s approach to asset management included:

- Identifying the System’s assets

- Evaluating expected lifetimes for each asset

- Estimating replacement costs for each asset

- Categorizing assets as critical and non-critical

- Calculating an annualized cost of replacement (the annual amount of reserve a utility needs to accumulate to pay for replacement) either at failure or the end of service life

The System defines critical assets as those that:

- Upon failure, significantly affect operation of the WWTP, collection system, or land disposal system; or

- Have an estimated remaining life (as of 2023) of 15 years or fewer.

Table 2 presents the assets of the WWTP, collection system and land disposal system, and indicates those that are considered critical.

Table 2. City of “A” Wastewater Treatment System Assets [Use worksheet named “Inventory” from the accompanying spreadsheet template file.]

| Asset Category | Asset | Material | Size | Quantity | Year Installed | Expected Life (yrs) | Remaining Life (yrs) | Critical Asset* |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Headworks | Pressure Gauge Assembly | Stainless Steel | 1/4 | 2 | 2000 | 30 | 7 | Y |
| Headworks | 150kW Generator | Stainless Steel | 150 kW | 1 | 1995 | 30 | 2 | Y |
| Effluent Pump Station | Pressure Gauge Assembly | Stainless Steel | - | 1 | 2000 | 30 | 7 | Y |
| Irrigation System | Irrigation Pump | - | 50 hp | 1 | 2012 | 20 | 9 | Y |
| Tailwater Collection System | Tailwater Pump | - | 40-70hp | 1 | 2009 | 25 | 11 | Y |
| Treatment System | Recycle Pumps | - | 7.5 hp | 2 | 2009 | 25 | 11 | Y |
| Headworks | Magnetic Flow Meter | Carbon Steel | 8 | 1 | 2005 | 30 | 12 | Y |
| Treatment System | 6' Chain Link Fence | Steel | 6 | 1 | 2006 | 20 | 3 | Y |
| Effluent Pump Station | Magnetic Flow Meter | Carbon Steel | 8 | 1 | 2005 | 30 | 12 | Y |
| Effluent Pump Station | Chemical Dosing System | Several | - | 1 | 2004 | 35 | 16 | N |
| Effluent Pump Station | Pipe Supports | Galvanized Steel | 2.5 | 8 | 2021 | 20 | 18 | N |
| Headworks | 8" Gate Valve | Cast Iron | 8 | 2 | 2010 | 35 | 22 | N |
| Headworks | Air/Vacuum Valve | Ductile Iron | 1 | 3 | 2010 | 35 | 22 | N |
| Headworks | 4" Plug Valve | Cast Iron | 4 | 4 | 2010 | 35 | 22 | N |
| Headworks | 4" Check Valve | Cast Iron | 4 | 4 | 2015 | 35 | 27 | N |
| Treatment System | 12" Gate Valve | Cast Iron | 12 | 2 | 2015 | 35 | 27 | N |
| Treatment System | 8" Mud Valve | Cast Iron | 8 | 3 | 2015 | 35 | 27 | N |
| Effluent Pump Station | Air Release Valve | Cast Iron | 1 | 3 | 2017 | 35 | 29 | N |
| Effluent Pump Station | 8" Swing Check Valve | Cast Iron | 8 | 3 | 2017 | 35 | 29 | N |
| Effluent Pipeline "B" | 12" Butterfly Valve | Cast Iron | 12 | 2 | 2019 | 35 | 31 | N |
| Effluent Pipeline "A" | 16" Butterfly Valve | Cast Iron | 16 | 2 | 2019 | 35 | 31 | N |
| Effluent Pump Station | 8" Plug Valve | Cast Iron | 8 | 4 | 2019 | 35 | 31 | N |
| Irrigation System | Irrigation Turnout Gates | - | 16 | 5 | 2019 | 35 | 31 | N |
| Effluent Pump Station | 6" Ductile Iron Pipe | Ductile Iron | 6 | 1 | 2015 | 40 | 32 | N |
| Treatment System | Manual Bar Screen | Steel | 4x3 | 1 | 2015 | 40 | 32 | N |
| Headworks | 15" PVC Pipe | C900 PVC | 12 dia,; 1760 length | 1 | 2015 | 40 | 32 | N |
| Effluent Pump Station | 8" Ductile Iron Pipe | Ductile Iron | 8 | 1 | 2017 | 40 | 34 | N |
| Irrigation System | 18" Ductile Iron Pipe | Ductile Iron | 18 | 1 | 2019 | 40 | 36 | N |
| Effluent Pipeline "A" | 16" PVC Pipe | C900 PVC | 16 | 1 | 2019 | 40 | 36 | N |
| Headworks | 60" Eccentric Manhole | Precast Concrete | 60 | 1 | 2015 | 45 | 37 | N |
| Effluent Pump Station | Precast Wet Well | Precast Concrete | - | 1 | 2019 | 45 | 41 | N |

* Critical assets are defined as assets whose failure would result in failure of the WWTP, collection system or land disposal system, or whose remaining life is 15 yrs or less

# Costs

This section is intended to summarizes expenses incurred by the water system.

Provide an introduction to the various types of costs presented in the subsections below.

Example

This sections summarizes the City of A’s estimated expenses for annual operations and maintenance, debt service, and future asset replacement.

In the subsections below, summarize all the cost components such as operations and management (O&M) costs, debt service (i.e., any loans requiring repayment), asset replacement costs and schedules, revenue components (i.e., service fees and revenue) and any current or needed funding.

Use the accompanying spreadsheet (Fiscal Sustainability & Asset Management Tool ) to organize the needed data and create the tables included in this section.  Use the worksheets named “Finance Plan,” “Replacement Expenses,” “Replacement Schedule” and “Graphic” to populate these tables.

## Operation and Maintenance Costs

Introduce and tabulate all of the system’s O&M costs including personnel salaries, benefits, payroll taxes, insurance, training, energy costs, process and chemical costs, monitoring and testing costs, professional services, residuals/waste disposal costs, and any other costs associated with operations and maintenance of the system.

Example:

The City of A estimates that its annual operations and maintenance cost for the wastewater program (i.e., the collection system, WWTP, and land disposal system) is $211,215 as shown in Table 3.

Table 3.  Estimated Annual O&M Costs [Use the accompanying spreadsheet. These numbers can be derived from “Annual Financial Operating Reports.”]

| Cost Category | Estimate |
| --- | --- |
| Personnel (salary, benefits, payroll tax, insurance, training, etc.) | $88,500 |
| Insurance | $10,500 |
| Energy Costs (fuel and electrical) | $15,500 |
| Process Chemicals | $35,750 |
| Monitoring and Testing | $28,000 |
| Professional Services | $19,400 |
| Residuals/Waste Disposal | $10,550 |
| Other | $3,015 |
| Total | $211,215 |

## Debt Service

Describe the System’s debt service (i.e., current sources of funding, funding types, terms of loans and grants, any principal forgiveness, and clarifying notes). Include a table summarizing the data.

Example:

Table 4 summarizes the current debt services for loans on which City A is currently making payments.  Table 5 lists all of the system’s recent.

Table 4.  Funding Sources: Loans [Use the use the worksheet named “Grants & Loans” in the accompanying spreadsheet.]

| Funding Source | Total Initial Award | Year Awarded | Term | Remaining Term (years) | Principal Forgiveness | Interest | Remaining Principal Balance as of June 30th, 2023 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| [Loan 1] | $350,000 | 2020 | 29 | 26 | $0 | 0.8% | $314,569 |
| [Loan 2] | $90,000 | 2021 | 10 | 8 | $0 | 2.5% | $73,200 |
| [Loan 3] | $14,200 | 2022 | 5 | 4 | $0 | 3.0% | $10,000 |
| [Loan 4] | $550,000 | 2018 | 20 | 15 | $250,000 | 2.1% | $508,000 |

Table 5. Funding Sources: Grants

| Funding Source | Total Initial Award | Year Awarded |
| --- | --- | --- |
| [Grant 1] | $200,000 | 2013 |
| [Grant 2] | $10,500 | 2023 |
| [Grant 3] | $100,000 | 2021 |
| [Grant 4] | $82,350 | 2016 |

## Asset Replacement Costs

Describe the System’s asset replacement costs and replacement schedule and include tables summarizing the data.

Example:

Table 6 presents a replacement schedule for assets through 2064. This schedule will be updated approximately every three years to reflect changes in the wastewater system, such as upgrading technologies, adjusting operations to meet demand, and incorporating more current equipment and service costs.

Unlike O&M and debt obligations that will have a constant annual rate (plus inflation), asset replacements occur as lump sum expenses incurred at various points in time. For example, the first set of assets will need to be replaced in 2025 at a cost of approximately $217,696.68 (Table 5).  The next set of assets will need replacement in 2032 for $264,608 and another set will need replacement in 2026 for $238,232.76 (Table 5). The City of A will need to maintain sufficient reserves within their wastewater fund to accommodate these large cash outflows. The replacement costs shown in Table 6 are a sum of the replacement costs of all assets to be replaced in a given year.  These costs are based on the individual asset replacement costs provided in Table 7.  The unit replacement costs shown in the table are based on the installation cost of the asset and a 3% inflation factor across the years of the assets estimated expected life.  The total replacement cost is the unit cost multiplied by the number of units.

Table 6. Asset Replacement Schedule [Use the worksheet named “Replacement Expenses” in the accompanying spreadsheet.]

| Schedule | Assets to be Replaced | Total Replacement Cost* |
| --- | --- | --- |
| 2025 | 150kW Generator | $217,696.68 |
| 2026 | 6 Chain Link Fence | $238,232.76 |
| 2030 | Pressure Gauge Assembly x2 (Headworks) Pressure Gauge Assembly x1 (Effluent Pump Station) | $45,013.38 |
| 2032 | Irrigation Pump | $248,689.77 |
| 2034 | Tailwater Pump Recycle Pump x2 | $658,203.11 |
| 2035 | Magnetic Flow Meter (Headworks) Magnetic Flow Meter (Effluent Pump Station) | $110,924.20 |
| 2039 | Chemical Dosing System | $239,422.20 |
| 2041 | Pipe Supports x8 | $209,739.75 |
| 2045 | 8 Gate Valve Air/Vacuum Valve 4 Plug Valve | $248,518.61 |
| 2046 | 6 Chain Link Fence | $430,439.22 |
| 2050 | 4 Check Valve 12 Gate Valve 8 Mud Valve | $747,463.75 |
| 2052 | Irrigation Pump Air Release Valve 8 Swing Check Valve | $678,219.55 |
| 2054 | 12 Butterfly Valve 16 Butterfly Valve 8 Plug Valve Irrigation Turnout Gates | $1,345,293.23 |
| 2055 | 6 Ductile Iron Pipe Manual Bar Screen 15 PVC Pipe | $940,420.22 |
| 2057 | 8 Ductile Iron Pipe | $104,358.78 |
| 2059 | 18 Ductile Iron Pipe 16 PVC Pipe Tailwater Pump Recycle Pump | $1,959,815.81 |
| 2060 | Pressure Gauge x2 (Headworks) Pressure Gauge x1 (Effluent Pump Station) | $213,145.18 |
| 2061 | Pipe Supports | $378,813.32 |
| 2064 | Precast Wet Well | $673,659.73 |

* Assumes 3% inflation rate

Table 7. Estimated Asset Replacement Costs [Use the worksheet named “Inventory” in the accompanying spreadsheet.]

| System | Asset | Quantity | Remaining Life(yrs) | Year of Replacement | Unit Replacement Cost* | Total Replacement Cost* |
| --- | --- | --- | --- | --- | --- | --- |
| Headworks | Pressure Gauge Assembly | 2 | 7 | 2030 | $12,200 | $24,400 |
| Headworks | 150kW Generator | 1 | 2 | 2025 | $205,200 | $205,200 |
| Effluent Pump Station | Pressure Gauge Assembly | 1 | 7 | 2030 | $12,200 | $12,200 |
| Irrigation System | Irrigation Pump | 1 | 9 | 2032 | $190,600 | $190,600 |
| Tailwater Collection System | Tailwater Pump | 1 | 11 | 2034 | $165,500 | $165,500 |
| Treatment System | Recycle Pumps | 2 | 11 | 2034 | $155,000 | $310,000 |
| Headworks | Magnetic Flow Meter | 1 | 12 | 2035 | $38,900 | $38,900 |
| Treatment System | 6' Chain Link Fence | 1 | 3 | 2026 | $218,100 | $218,100 |
| Effluent Pump Station | Magnetic Flow Meter | 1 | 12 | 2035 | $38,900 | $38,900 |
| Effluent Pump Station | Chemical Dosing System | 1 | 16 | 2039 | $149,200 | $149,200 |
| Effluent Pump Station | Pipe Supports | 8 | 18 | 2041 | $15,400 | $123,200 |
| Headworks | 8" Gate Valve | 2 | 22 | 2045 | $18,300 | $36,600 |
| Headworks | Air/Vacuum Valve | 3 | 22 | 2045 | $14,100 | $42,300 |
| Headworks | 4" Plug Valve | 4 | 22 | 2045 | $12,700 | $50,800 |
| Headworks | 4" Check Valve | 4 | 27 | 2050 | $12,700 | $50,800 |
| Treatment System | 12" Gate Valve | 2 | 27 | 2050 | $56,300 | $112,600 |
| Treatment System | 8" Mud Valve | 3 | 27 | 2050 | $57,700 | $173,100 |
| Effluent Pump Station | Air Release Valve | 3 | 29 | 2052 | $14,100 | $42,300 |
| Effluent Pump Station | 8" Swing Check Valve | 3 | 29 | 2052 | $18,300 | $54,900 |
| Effluent Pipeline "B" | 12" Butterfly Valve | 2 | 31 | 2054 | $36,600 | $73,200 |
| Effluent Pipeline "A" | 16" Butterfly Valve | 2 | 31 | 2054 | $53,500 | $107,000 |
| Effluent Pump Station | 8" Plug Valve | 4 | 31 | 2054 | $36,600 | $146,400 |
| Irrigation System | Irrigation Turnout Gates | 5 | 31 | 2054 | $42,300 | $211,500 |
| Effluent Pump Station | 6" Ductile Iron Pipe | 1 | 32 | 2055 | $21,300 | $21,300 |
| Treatment System | Manual Bar Screen | 1 | 32 | 2055 | $24,500 | $24,500 |
| Headworks | 15" PVC Pipe | 1 | 32 | 2055 | $114,200 | $114,200 |
| Effluent Pump Station | 8" Ductile Iron Pipe | 1 | 34 | 2057 | $38,200 | $38,200 |
| Irrigation System | 18" Ductile Iron Pipe | 1 | 36 | 2059 | $55,500 | $55,500 |
| Effluent Pipeline "A" | 16" PVC Pipe | 1 | 36 | 2059 | $145,200 | $145,200 |
| Headworks | 60" Eccentric Manhole | 1 | 37 | 2060 | $34,800 | $34,800 |
| Effluent Pump Station | Precast Wet Well | 1 | 41 | 2064 | $200,500 | $200,500 |

* Assumes 3% inflation rate

# REVENUE AND FUNDING PLAN

This section is intended to summarize the system’s annual revenue, as well as a funding plan that tabulates total revenue, expenses and balances for several years out.

Provide an introduction to the subsections that tabulate the systems’ revenue and funding plan.

Example

This sections summarizes the City of A’s estimated expenses for annual operations and maintenance, debt service, and future asset replacement.

For the subsections below, prepare a revenue and funding plan that summarizes the current revenue sources, approved rates, annual revenue, O&M expenses, and debt obligations. Identify when, or if, the city will need to adjust its rates to maintain revenue goals.

## Current Revenue

Describe the System’s current revenue sources and include a table summarizing the data.

Example:

The City currently collects approximately $625,000 annually in wastewater fees from various customers in its jurisdiction. Table 8 shows the wastewater rates approved as of 2023 and annual revenue.

Table 8.  Fees and Revenue [Use the worksheet named “Existing Revenue” and the accompanying spreadsheet]

| Customer Sector | # of Customers (2019) | Total Monthly Fee/ Customer (2023) | Total Annual Revenue/Sector(2023) |
| --- | --- | --- | --- |
| Residential | 360 | $65.9 | $284,688 |
| Apartment | 2 | $86.26 | $2,070 |
| Tavern or Bar | 1 | $74.11 | $889 |
| Churches | 12 | $68.13 | $9,811 |
| Commercial | 68 | $82.11 | $67,002 |
| Office Building | 30 | $65.90 | $23724 |
| Restaurant | 3 | $106.73 | $3,842 |
| High School | 1 | $310.39 | $3,725 |
| Annual Total | 477 |  | $396,000 |

## Funding Plan

Describe the System’s funding plan and include a table summarizing the data.

Example:

Table 9 presents the estimated annual revenue, O&M and replacement expenses, debt obligations, and balance for the wastewater services funded by the City’s wastewater fee. Revenue and expenditures are shown through 2046. The replacement expenses, detailed in Table 6, are based on initial installation cost, plus a 3% inflation factor across the years of each asset’s estimated life expectancy. The annual O&M expenses are assumed to increase annually at a 3% inflation rate. The remaining balances do not account for earned interest, so they are underestimated.

This funding plan indicates the City’s current fee structure may be sufficient through approximately 2046 (i.e., the remaining balance becomes negative in that year), after which time the fee structure will need to be increased to meet estimated expenses.

Table 9. Funding Plan Estimate [Use the worksheet named “Finance Plan” in the accompanying spreadsheet.]

| Year | Starting Balance | Revenue | O&M Expenses* | Replacement Expenses | Total Debt Obligations | Remaining Balance^ |
| --- | --- | --- | --- | --- | --- | --- |
| 2023 | $20,000.00 | $406,251 | $187,662 | $- | $54,691 | $183,898 |
| 2024 | $183,898 .18 | $395,751 | $193,292 | $- | $53,983 | $332,374 |
| 2025 | $332,374.47 | $395,751 | $199,090 | $217,697 | $53,275 | $258,063 |
| 2026 | $258,063.30 | $395,751 | $205,063 | $238,324 | $52,567 | $157,860 |
| 2027 | $157,860.31 | $395,751 | $211,215 | $- | $51,359 | $291,037 |
| 2028 | $291,037.16 | $395,751 | $217,551 | $- | $49,066 | $420,170 |
| 2029 | $420,170.44 | $395,751 | $224,078 | $- | $48,422 | $543,422 |
| 2030 | $543,421.80 | $395,751 | $230,800 | $45,013 | $47,777 | $615,582 |
| 2031 | $615,582.06 | $395,751 | $237,724 | $- | $39,232 | $734,376 |
| 2032 | $734,376.31 | $395,751 | $244,856 | $248,690 | $37,764 | $598,818 |
| 2033 | $598,817.86 | $395,751 | $252,202 | $- | $37,317 | $705,050 |
| 2034 | $705,050.04 | $395,751 | $259,768 | $658,203 | $36,871 | $145,959 |
| 2035 | $145,959.50 | $395,751 | $267,561 | $110,924 | $36,424 | $126,801 |
| 2036 | $126,801.47 | $395,751 | $275,588 | $- | $35,977 | $210,987 |
| 2037 | $210,987.35 | $395,751 | $283,855 | $- | $35,531 | $287,352 |
| 2038 | $287,352.14 | $395,751 | $292,371 | $- | $21,084 | $369,648 |
| 2039 | $369,647.81 | $395,751 | $301,142 | $239,422 | $17,931 | $206,903 |
| 2040 | $206,903.36 | $395,751 | $310,176 | $- | $17,841 | $274,637 |
| 2041 | $274,637.20 | $395,751 | $319,482 | $209,740 | $17,750 | $123,416 |
| 2042 | $123,416.34 | $395,751 | $329,066 | $- | $17,660 | $172,441 |
| 2043 | $172,441.13 | $395,751 | $338,938 | $- | $17,570 | $211,684 |
| 2044 | $211,684.29 | $395,751 | $349,106 | $- | $17,479 | $240,850 |
| 2045 | $240,849.66 | $395,751 | $359,579 | $248,519 | $17,389 | $11,114 |
| 2046 | $11,113.57 | $395,751 | $370,367 | $430,439 | $17,299 | $-411,240 |
| 2047 | $(411,240.15) | $395,751 | $381,478 | $- | $17,208 | $-414,175 |

* Assumes 3% inflation rate

^ Excludes interest earned

# WATER AND ENERGY CONSERVATION PRACTICES

This section is intended to address the requirements for a Fiscal Sustainability Plan.  For these types of plans, a summary of water and energy conservation practices must be provided.  This section is not needed for standard asset management plans and can be deleted.

If this section is needed, describe the water and energy conservation practices the System incorporates into its design or operations.

Example:

The City of A’s WWTP, collection system and land disposal system incorporates the following water and energy conservation practices into their design and operations:

- Energy Conservation

  - Pumps are appropriately sized (based on design and selection criteria)

  - Variable frequency drives for pumps allow speed variations that can match flow conditions

  - Supervisory control and data acquisition (SCADA) software increases the efficiency of process monitoring and operational controls

- Water Conservation

  - Treated wastewater is substituted for potable water in cropland irrigation

  - Supervisory control and data acquisition (SCADA) software increases the efficiency of process monitoring and operational control

# REFERENCES

This section is intended to document all publications used in creating the FSP/AMP or referenced within the FSP/AMP.

List all references used in preparation of this document.  Include reports prepared by the System, such as financial reports, or studies prepared by consultants, etc.

Example:

City of A. 2020. Capital Improvement Plan. City of A, NV.

City of A. 2021. “Annual Budget Report, FY 2020–2021.” www.cityofa.gov/reports. City of A, NV.

ABC Engineering, Inc. 2019. “Wastewater System Condition Assessment: A report to the City of B.” City of B, NV.