## Instructions
Asset Inventory Workbook
August 24 2018 Template
Overview:
This workbook was developed by the Environmental Finance Center (EFC) at California State University, Sacramento (Sacramento State) for municipalities and rural communities in EPA Region 9 of to facilitate the creation of an asset management plan for stormwater infrastructure. Funded by a USEPA grant.
How to use this Workbook:
The Asset Inventory Worksheet uses color schemes to denote which fields require user input and which are used for calculations, see below for a full explanation.
| Required Input | Fields with this color scheme require user input, this will be in the form of manually typing a value or selecting one from a dropdown menu.
| Optional Input | Fields with this color scheme will contain a formula that calculates a value, however, this value is an estimate and can be overridden by the user.
| Calculation | Fields with this color scheme contain formulas that calculate values, these fields should not be edited by the user.
| Invalid Value | If a field turns red it means the user has entered a value outside the range of acceptable values, refer to the instructions for each field below for the acceptable range of values where appropriate.
Dropdown Menus - This workbook relies heavily on lookup tables that are stored on the References worksheet. Based on values chosen from the dropdown menus additional information is automatically populated for other fields. For example, based on the values for Asset Type and Material the workbook can look up the Estimated Effective Life. When the dropdown menus are not used and a value is manually entered, the workbook may not recognize it and be unable to use that information to reference any additional information.
Instructions
Instructions are listed below for completing the "Asset Inventory Worksheet," "Multi Factor COF Worksheet," and the "Prioritization Worksheet". Note that the "Asset Inventory Worksheet" data must be entered in order.
General Asset Info
Index - The index field provides a unique numerical identifier for each asset. This ensures an asset can be cross-referenced between worksheets correctly and that similar assets are not mixed up. This field cannot be edited.
Asset Category - Asset Category is a dropdown field that contains a list of major asset categories. The value chosen from the dropdown menu will change the dropdown list for the Asset Type field.
Asset Type - This field will have a dropdown list of assets, the assets in the dropdown list depends on the value in the Asset Type field. If the asset the user wishes to choose is not in the list they may find it listed when they change the Asset Type field; if not, the user can enter the type of asset manually.
Material – This field will have a dropdown list of materials based on the value in the Asset Type field. If the material the user wishes to input is not on the dropdown, it can be manually entered.
Address or Coordinates – This field is for recording the location of the asset. The user should choose a standard format that will be used for all assets, this could be GPS coordinates, street addresses, parcel numbers, etc.
Year of Install – This field records the year the asset was originally installed/created. Even if the asset has undergone a major renovation this field should contain the original installation year.
Age – This field shows the age of the asset in years. This is calculated as (Current Year - Year of Install).
Effective Life
Estimated Effective Life – This field contains the estimated effective life of the asset in years. The value is auto populated by the workbook using a lookup table on the Reference worksheet using the values of Asset Type and Material when applicable. The values contained in the lookup table are literature values and should be updated whenever possible with locally accepted values either from experience or from manufacturer’s literature. This field may be blank if the lookup function could not match the Asset Type and Material values to an entry in the reference table. If this is the case, leave the field blank and manually enter an estimated effective life in the next field, Adjusted Effective Life.
Adjusted Effective Life – This field will default to the value in the Estimated Effective Life field. Because the Estimated Effective Life field uses literature values the user is given the option here to put in a more accurate estimate. For example, if a corrugated metal culvert has an estimated effective life of 65 years but was rehabbed with an epoxy liner at year 50 with an estimated life on the liner of 30 years per the manufacturer, the Adjusted Effective Life would be 80 years.
Percent Consumed – A percentage calculated as (Age / Adjusted Effective Life).
Weight (0-10) – This field determines how much weight is given to the Percent Consumed value when calculating the Probability of Failure (POF). Values for the Weight field must be between 0-10, with 0 causing the value to be ignored and 10 causing the value to be the only one used in calculating the POF. Note that when multiple weighted values are used to calculate something, such as the POF, the total of all the applicable Weight fields must be 10. Currently the only calculation with more than one Weight is the POF and it has only 2 weighted values so after inputting a value in the first Weight field, the second field is calculated as 10 minus the value in the first Weight field. Weight can be thought of as a measure of the confidence the user has in that value. For example, if a culvert was recently inspected to assess its structural condition, the user would likely have a high confidence in that rating and make the weighting factor 8 or 9. Or if the most recent inspections were performed 20 years ago the weight placed on that rating would likely be lower, possibly 2 or 3. If an asset has never been inspected the weight can be set at 0 so that the only factor used in the POF calculation is the age of the asset.
Weighted Value – This is calculated as (Percent Consumed * Weight).
Structural Condition
Rating – This field is a user supplied rating (via a drop down menu) of the structural condition. The rating system is 1-5 with 1 being excellent and 5 being failure imminent. This field is used more than once.
Score – This is a calculated field that converts the Rating field into a decimal. The formula is (Rating / 5).
Weight (0-10) – This field determines how much weight is given to the structural condition when calculating the POF. Values for the Weight field must be between 0-10 with 0 causing the value to be ignored and 10 causing the value to be the only one used in calculating the POF. Note that when multiple weighted values are used to calculate something, such as the POF, the total of all the applicable Weight fields must be 10. Currently the only calculation with more than one Weight is the POF and it has only 2 weighted values so after inputting a value in the first Weight field, the second field is calculated as 10 minus the value in the first Weight field.
Weighted Value – This is calculated as (Score * Weight).
Probability of Failure (POF)
POF (0-50) – This field gives the POF for each asset and is calculated as the sum of the two previous weighted values ((Weighted Value[Effective Life] + Weighted Value[Structural Condition]) * 5) and expressed as a percentage. It is important to note that despite the name this value is not the probability that an asset will fail in some timeframe. This value is used only to rank assets relative to each other, those with larger POF values are at a higher risk for failure which is taken into account when calculating final prioritization.
Consequence of Failure (COF)
Use Single or Multi Factor COF? - This field is a drop down that allows the user to select whether they will use a single factor for the COF or if they will use the additional Multi Factor COF Worksheet to calculate a COF. If the user chooses Single Factor they will continue following the steps below. If the user choosed Multi Factor the next 4 fields will be greyed out and they will need to switch to the Multi Factor COF Worksheet to continue. The instructions for the Multi Factor COF Worksheet are at the bottom of these instructions, when the user finishes calculating the COF they should return to the Asset Inventory Worksheet and continue entering asset information starting at the Prioritization Section.
Rating – This field is a user supplied rating of the impact to the public/customers if this asset failed. The rating system is 1-5 with 1 being negligible consequence and 5 being severe consequence.
Score – This is a calculated field that converts the Rating field into a decimal. The formula is (Rating / 5).
Weight (0-10) – This field is currently a value of 10 as there is only one factor in the COF calculation, if more factors are added this will function the same as the Weight field in the POF calculation.
Weighted Value COF (0-50) – This is calculated as (Score * Weight * 5).
Weighted Value from COF Table (0-50) – This field will default to the value in the Weighted Value COF (0-50) field. if the user wants a more precise method for calculating COF they can use the Optional Consequence of Failure Table to calculate a weighted value and put it in this field. For additional information on how to use this optional table, see additional instructions below.
Prioritization
Redundancy – This field is a Yes/No input, if the asset in question has redundancy then the answer is yes.
Priority Score (0-100) – This field calculates the final rank for prioritization. Priority Score is calculated as ([Probability of Failure + Consequence of Failure] * Redundancy) with Redundancy equal to 1 for no redundancy and 0.5 for with redundancy.
Notes
Notes – This field is for general note taking for the asset. Any additional information the user thinks will be useful that is not captured in previous fields should be recorded here.
Once all assets have been added to the Asset Inventory Worksheet and the Priority Score is calculated, the user can switch to the Prioritization Worksheet and sort by Priority Score to create an easy to read list of assets in order of descending priority.
Multi Factor COF Worksheet
The Multi Factor COF Worksheet is for calculating a COF using multiple factors. This calculated COF requires additional information, the fields required are listed below with explanations and guidance for filling them out.
Depth of Asset - This field is a dropdown list that contains three choices, Shallower than Average, Average, and Deeper than Average. This is a generalized factor used to characterize how difficult an asset will be to replace. Deeper assets require more excavation than shallower assets and are therefore of a higher consequence of failure. These terms are meant to be relative to other assets of the same type, for instance, if force mains are typically buried 7 feet deep but this one was placed at 12 feet deep to avoid another utlity, it would be rated Deeper than Average.
Score – This is a calculated field that converts the Rating field into a decimal. The formula is (Rating / 10).
Weight (0-10) – This field determines how much weight is given to the Depth of Asset when calculating the COF. Values for the Weight field must be between 0-10 with 0 causing the value to be ignored and 10 causing the value to be the only one used in calculating the COF. Note that when multiple weighted values are used to calculate something, such as the COF, the total of all the applicable Weight fields must be 10.
Weighted Value – This is calculated as (Score * Weight * 5).
Size of Asset - This field is a dropdown list that contains three choices, Smaller than Average, Average, and Larger than Average. This is a generalized factor used to characterize how difficult an asset will be to replace as well as how much it can affect the surrounding area if it fails. Larger assets require more effort to replace than smaller assets and are therefore of a higher consequence of failure. These terms are meant to be relative to other assets of the same type, for instance, if laterals are typically 6 inch pipes but this one is a 12 inch pipe, it would be rated larger than Average.
Score – This is a calculated field that converts the Rating field into a decimal. The formula is (Rating / 10).
Weight (0-10) – This field determines how much weight is given to the Size of Asset when calculating the COF. Values for the Weight field must be between 0-10 with 0 causing the value to be ignored and 10 causing the value to be the only one used in calculating the COF. Note that when multiple weighted values are used to calculate something, such as the COF, the total of all the applicable Weight fields must be 10.
Weighted Value – This is calculated as (Score * Weight * 5).
Proximity to Floodplain - This field is a dropdown list that contains three choices, Not within a floodplain, Within the 500 year floodplain, and Within the 200 year floodplain. This factor helps determine if a failed asset will lead to increased local flooding during a storm event.
Score – This is a calculated field that converts the Rating field into a decimal. The formula is (Rating / 2).
Weight (0-10) – This field determines how much weight is given to the Proximity to Floodplain when calculating the COF. Values for the Weight field must be between 0-10 with 0 causing the value to be ignored and 10 causing the value to be the only one used in calculating the COF. Note that when multiple weighted values are used to calculate something, such as the COF, the total of all the applicable Weight fields must be 10.
Weighted Value – This is calculated as (Score * Weight * 5).
Proximity to Environmental Hazard - This field is a dropdown list that contains three choices, Not in close proximity to a known hazardous site, Within 100 feet of a known hazardous site, and Within a site with known environmental hazards. This factor helps determine if a failed asset could cause leaking stormwater to mobilize contaminants from a nearby hazardous site during a storm event causing increased risk to the public/environment as well as increased cleanup costs.
Score – This is a calculated field that converts the Rating field into a decimal. The formula is (Rating / 2).
Weight (0-10) – This field determines how much weight is given to the Proximity to Environmental Hazard when calculating the COF. Values for the Weight field must be between 0-10 with 0 causing the value to be ignored and 10 causing the value to be the only one used in calculating the COF. Note that when multiple weighted values are used to calculate something, such as the COF, the total of all the applicable Weight fields must be 10.
Weighted Value – This is calculated as (Score * Weight * 5).
Proximity to Building - This field is a dropdown list that contains three choices, More than 20 feet from a building, Within 20 feet from a building, and Under a building. This factor helps determine how difficult an asset will be to replace and how much potential impact on the public a failing asset could cause.
Score – This is a calculated field that converts the Rating field into a decimal. The formula is (Rating / 2).
Weight (0-10) – This field determines how much weight is given to the Proximity to Building when calculating the COF. Values for the Weight field must be between 0-10 with 0 causing the value to be ignored and 10 causing the value to be the only one used in calculating the COF. Note that when multiple weighted values are used to calculate something, such as the COF, the total of all the applicable Weight fields must be 10.
Weighted Value – This is calculated as (Score * Weight * 5).
Proximity to Roadway - This field is a dropdown list that contains five choices, Outside of ROW, Within ROW of minor road, Within ROW of major road, Under pavement of minor road, Under pavement of major road. This factor helps determine how difficult an asset will be to replace and how much potential impact on the public a failing asset could cause.
Score – This is a calculated field that converts the Rating field into a decimal. The formula is (Rating / 50).
Weight (0-10) – This field determines how much weight is given to the Proximity to Roadway when calculating the COF. Values for the Weight field must be between 0-10 with 0 causing the value to be ignored and 10 causing the value to be the only one used in calculating the COF. Note that when multiple weighted values are used to calculate something, such as the COF, the total of all the applicable Weight fields must be 10.
Weighted Value – This is calculated as (Score * Weight * 5).
Total Weight - This field is a check to ensure that all weights add to 10 for each asset. If the total weight is not 10 the cell will turn red, if this happens please change one or more of the weights until the total is 10 and the cell is no longer red.
COF (0-50) - This is the calculated COF value, it will automatically be populated into the correct cell in the Asset Inventory Worksheet.
When the user has finished inputting all required information into the Multi Factor COF Worksheet and a COF has been calculated, they can switch back to the Asset Inventory Worksheet to complete the Prioritization and Notes section.

## Asset Inventory Worksheet
General Asset Info | [9 empty] | Effective Life |  |  |  |  | Structural Condition |  |  |  | Probability of Failure | Consequence of Failure | [5 empty] | Prioritization |  | Notes
[20 empty] | Use Single or Multi Factor COF? | Single Factor COF |  |  |  | Multi Factor COF (0-10)
Index | Asset Category | Asset Type | Material | Length (ft) | Address or Coordinates | From (Address/St) | To (Address/St) | Year of Install | Age (years) | Estimated Effective Life | Adjusted Effective Life | Percent Consumed | Weight (0-10) | Weighted Value | Rating | Score | Weight (0-10) | Weighted Value | POF (0-10) |  | Rating | Score | Weight (0-10) | Single Factor COF (2-10) |  | Redundancy | Priority Score (0-100) | Notes
1 | Distribution | Gravity Mains | Corrugated Metal |  |  |  |  | 1968 | 51 | 65 | 65 | 78.46% | 6 | 4.7077 | 3 - Fair | 0.6 | 4 | 2.4 | 7.1077 | Multi Factor |  |  |  |  | 10 | No | 71.0769
2 | Other | Detention Basins | [5 empty] | 1872 | 147 | 50 | 50 | 100% | 2 | 2 | 4 - Poor | 0.8 | 8 | 6.4 | 8.4 | Single Factor | 2 - Low | 0.4 | 10 | 4 |  | No | 33.6
3 | Green | Green Street | [5 empty] | 1999 | 20 |  | 30 | 66.67% | 8 | 5.3333 | 2 - Good | 0.4 | 2 | 0.8 | 6.1333 | Single Factor | 1 - Negligible | 0.2 | 10 | 2 |  | No | 12.2667
4 | Distribution | Culverts | Corrugated Metal |  |  |  |  | 1950 | 69 | 65 | 70 | 98.57% | 5 | 4.9286 | 4 - Poor | 0.8 | 5 | 4 | 8.9286 | Multi Factor |  |  |  |  | 4.35 | No | 38.8393
5 | Distribution | Culverts | Corrugated Metal |  |  |  |  | 1986 | 33 | 65 | 1000 | 3.3% | 10 | 0.33 | 1 - Excellent | 0.2 | 0 | 0 | 0.33 | Multi Factor |  |  |  |  | 0.6 | Yes | 0.099
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
Formulas:
Age (years) = IF([Year of Install]="","",(YEAR(TODAY())-[Year of Install]))
Note on AA3: Shinneman, Joel Tyson: This value is calculated on the Multi Factor COF Worksheet

## Multi Factor COF Worksheet
Multi Factor COF Worksheet
Index | Depth of Asset |  |  |  | Size of Asset |  |  |  | Proximity to Floodplain |  |  |  | Proximity to Environmental Hazard |  |  |  | Proximity to Building |  |  |  | Proximity to Roadway |  |  |  | Weights | COF
| Rating | Score | Weight (0-10) | Weighted Value | Rating | Score | Weight (0-10) | Weighted Value | Rating | Score | Weight (0-10) | Weighted Value | Rating | Score | Weight (0-10) | Weighted Value | Rating | Score | Weight (0-10) | Weighted Value | Rating | Score | Weight (0-10) | Weighted Value | Total Weight (10) | COF (0-10)
1 | 10 - Deeper than Average | 1 | 3 | 3 | 10 - Larger than Average | 1 | 3 | 3 | 2 - Within the 100 year floodplain | 1 | 0.5 | 0.5 | 2 - Within a site with known environmental hazards | 1 | 0.5 | 0.5 | 2 - Under a building | 1 | 2 | 2 | 50 - Under pavement of major road | 1 | 1 | 1 | 10 | 10
2 |  |  | 3 |  |  |  | 3 |  |  |  | 0.5 |  |  |  | 0.5 |  |  |  | 2 |  |  |  | 1 |  | 10
3 |  |  | 3 |  |  |  | 3 |  |  |  | 0.5 |  |  |  | 0.5 |  |  |  | 2 |  |  |  | 1 |  | 10
4 | 1 - Shallower than Average | 0.1 | 3 | 0.3 | 10 - Larger than Average | 1 | 3 | 3 | 0 - Not within a floodplain | 0 | 0.5 | 0 | 1 - Within 100 feet of known hazardous site | 0.5 | 0.5 | 0.25 | 0 - More than 20 feet from a building | 0 | 2 | 0 | 40 -Under pavement of minor road | 0.8 | 1 | 0.8 | 10 | 4.35
5 | 1 - Shallower than Average | 0.1 | 3 | 0.3 | 1 - Smaller than Average | 0.1 | 3 | 0.3 | 0 - Not within a floodplain | 0 | 0.5 | 0 | 0 - Not in close proximity to known hazardous site | 0 | 0.5 | 0 | 0 - More than 20 feet from a building | 0 | 2 | 0 | 0 - Outside of ROW | 0 | 1 | 0 | 10 | 0.6
6 |  |  | 3 |  |  |  | 3 |  |  |  | 0.5 |  |  |  | 0.5 |  |  |  | 2 |  |  |  | 1 |  | 10
7 |  |  | 3 |  |  |  | 3 |  |  |  | 0.5 |  |  |  | 0.5 |  |  |  | 2 |  |  |  | 1 |  | 10
8 |  |  | 3 |  |  |  | 3 |  |  |  | 0.5 |  |  |  | 0.5 |  |  |  | 2 |  |  |  | 1 |  | 10
9 |  |  | 3 |  |  |  | 3 |  |  |  | 0.5 |  |  |  | 0.5 |  |  |  | 2 |  |  |  | 1 |  | 10
10 |  |  | 3 |  |  |  | 3 |  |  |  | 0.5 |  |  |  | 0.5 |  |  |  | 2 |  |  |  | 1 |  | 10
11 |  |  | 3 |  |  |  | 3 |  |  |  | 0.5 |  |  |  | 0.5 |  |  |  | 2 |  |  |  | 1 |  | 10
12 |  |  | 3 |  |  |  | 3 |  |  |  | 0.5 |  |  |  | 0.5 |  |  |  | 2 |  |  |  | 1 |  | 10
13 |  |  | 3 |  |  |  | 3 |  |  |  | 0.5 |  |  |  | 0.5 |  |  |  | 2 |  |  |  | 1 |  | 10
14 |  |  | 3 |  |  |  | 3 |  |  |  | 0.5 |  |  |  | 0.5 |  |  |  | 2 |  |  |  | 1 |  | 10
15 |  |  | 3 |  |  |  | 3 |  |  |  | 0.5 |  |  |  | 0.5 |  |  |  | 2 |  |  |  | 1 |  | 10
16 |  |  | 3 |  |  |  | 3 |  |  |  | 0.5 |  |  |  | 0.5 |  |  |  | 2 |  |  |  | 1 |  | 10
17 |  |  | 3 |  |  |  | 3 |  |  |  | 0.5 |  |  |  | 0.5 |  |  |  | 2 |  |  |  | 1 |  | 10
18 |  |  | 3 |  |  |  | 3 |  |  |  | 0.5 |  |  |  | 0.5 |  |  |  | 2 |  |  |  | 1 |  | 10
19 |  |  | 3 |  |  |  | 3 |  |  |  | 0.5 |  |  |  | 0.5 |  |  |  | 2 |  |  |  | 1 |  | 10
20 |  |  | 3 |  |  |  | 3 |  |  |  | 0.5 |  |  |  | 0.5 |  |  |  | 2 |  |  |  | 1 |  | 10
21 |  |  | 3 |  |  |  | 3 |  |  |  | 0.5 |  |  |  | 0.5 |  |  |  | 2 |  |  |  | 1 |  | 10
22 |  |  | 3 |  |  |  | 3 |  |  |  | 0.5 |  |  |  | 0.5 |  |  |  | 2 |  |  |  | 1 |  | 10
23 |  |  | 3 |  |  |  | 3 |  |  |  | 0.5 |  |  |  | 0.5 |  |  |  | 2 |  |  |  | 1 |  | 10
24 |  |  | 3 |  |  |  | 3 |  |  |  | 0.5 |  |  |  | 0.5 |  |  |  | 2 |  |  |  | 1 |  | 10
25 |  |  | 3 |  |  |  | 3 |  |  |  | 0.5 |  |  |  | 0.5 |  |  |  | 2 |  |  |  | 1 |  | 10
26 |  |  | 3 |  |  |  | 3 |  |  |  | 0.5 |  |  |  | 0.5 |  |  |  | 2 |  |  |  | 1 |  | 10
27 |  |  | 3 |  |  |  | 3 |  |  |  | 0.5 |  |  |  | 0.5 |  |  |  | 2 |  |  |  | 1 |  | 10
28 |  |  | 3 |  |  |  | 3 |  |  |  | 0.5 |  |  |  | 0.5 |  |  |  | 2 |  |  |  | 1 |  | 10

## Prioritization Worksheet
Asset Category | Asset Type | Material | Address or Coordinates | Year of Install | Age (years) | POF (0-10) | COF (0-10) | Redundancy | Notes | Priority Score (0-100)
Distribution | Culverts | Corrugated Metal |  | 1986 | 33 | 0.33 | 0.6 | Yes |  | 0.099
Green | Green Street |  |  | 1999 | 20 | 6.1333 |  | No |  | 12.2667
Other | Detention Basins |  |  | 1872 | 147 | 8.4 |  | No |  | 33.6
Distribution | Culverts | Corrugated Metal |  | 1950 | 69 | 8.9286 | 4.35 | No |  | 38.8393
Distribution | Gravity Mains | Corrugated Metal |  | 1968 | 51 | 7.1077 | 10 | No |  | 71.0769
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0

## References
Culverts
Asset Category | Type | [7 empty] | Estimated Effective Life Reference |  | Estimated Effective Life Lookup Table |  |  | Optional Consequence of Failure Table | [6 empty] | COF Factors | Weights |  |  |  | Value | Rating Description |  | COF Factors | Weight | Value | Rating Description
Distribution | Gravity Mains | Laterals | Open Channels | Ditches | Culverts | Pressurized Mains | Siphons |  | Asset | EEL (Years) | Asset | EEL (Years) |  | COF Factors | Value | Rating Description | Rating | Score | Weight | Weighted Value |  | Gravity | Laterals | Force Mains | Siphons
Other | Outfalls | Manholes | Detention Basins | Pump | Catch Basins |  |  |  | Gravity Mains /Culverts (Concrete, Brick, Vitrified Clay, Ductile Iron) | 100 | Catch Basins | 50 | [8 empty] | Depth of Pipe | 3 | 0 | 3 | 3 | 1 | depth <= 8 feet |  | Depth of Pipe | 3 | 1 | depth <= 8 feet
Green | Bed Filter | Detention Basin | Dry Basin | Infiltration Basin | Media Filter | Treatment Vault | Wet Basin | Biostrip | Gravity Mains (HDPE, PVC, Truss Pipe) | 75 | Culverts Concrete | 100 |  | Depth of Asset | 1 | 1 - Shallower than Average | 10 | 1 | 3 | 15 | [5 empty] | 3 | 8 < depth <= 15 feet |  |  |  | 3 | 8 < depth <= 15 feet
| Biofiltration | Bioretention | Bioswale | Infiltration Feature | Porous Pavement | Settling Basin | Green Street |  | Gravity Mains / Laterals /Culverts (Corrugated Metal) | 65 | Culverts Corrugated Metal | 65 |  |  | 3 | 3 - Average | [9 empty] | 10 | depth > 15 feet |  |  |  | 10 | depth > 15 feet
[9 empty] | Laterals (Concrete, Brick, Vitrified Clay, Ductile Iron) | 50 | Detention Basins | 50 |  |  | 10 | 10 - Deeper than Average |  |  |  |  | Pipe Size | 3 | 4 | 3 | 3 | 2 | size <= 12 inches |  | Pipe Size | 3 | 2 | size <= 12 inches
[9 empty] | Laterals (HDPE, PVC, Truss Pipe) | 50 | Gravity Mains Brick | 100 |  | Size of Asset | 1 | 1 - Smaller than Average | 10 | 1 | 3 | 15 | [5 empty] | 10 | 12 < size <= 24 inches |  |  |  | 10 | 12 < size <= 24 inches
Material | Concrete | Brick | Vitrified Clay Pipe | Ductile Iron | HDPE | PVC | Corrugated Metal | Truss Pipe | Pressurized Mains | 75 | Gravity Mains Concrete | 100 |  |  | 3 | 3 - Average | [9 empty] | 25 | 24 < size <= 42 inches |  |  |  | 25 | 24 < size <= 42 inches
[9 empty] | Manholes (Brick and Concrete) | 100 | Gravity Mains Corrugated Metal | 65 |  |  | 10 | 10 - Larger than Average | [9 empty] | 35 | 42 < size <= 72 inches |  |  |  | 35 | 42 < size <= 72 inches
Ratings |  |  | Ratings | [5 empty] | Catch Basins (Brick and Concrete) | 50 | Gravity Mains Ductile Iron | 100 |  | Proximity to Floodplain | 0 | 0 - Not within a floodplain | 2 | 1 | 0.5 | 2.5 | [5 empty] | 50 | size > 72 inches |  |  |  | 50 | size > 72 inches
1 - Excellent |  |  | 1 - Negligible | [5 empty] | Outfalls | 75 | Gravity Mains HDPE | 75 |  |  | 1 | 1 - Within the 500 year floodplain |  |  |  |  | Proximity to Floodplain | 0.5 | 1 | 0.5 | 0.5 | 0 | Not within a floodplain |  | Proximity to Floodplain | 0.5 | 0 | Not within a floodplain
2 - Good |  |  | 2 - Low | [5 empty] | Detention Basins - Open | 50 | Gravity Mains PVC | 75 |  |  | 2 | 2 - Within the 100 year floodplain | [9 empty] | 1 | Within the 100 year floodplain | Shouldn’t these be switched? |  |  | 1 | Within the 100 year floodplain | Shouldn’t these be switched?
3 - Fair |  |  | 3 - Moderate | [5 empty] | Infiltration Basins | 100 | Gravity Mains Truss Pipe | 75 |  | Proximity to Environmental Hazard | 0 | 0 - Not in close proximity to known hazardous site | 2 | 1 | 0.5 | 2.5 | [5 empty] | 2 | Within the 500 year floodplain |  |  |  | 2 | Within the 500 year floodplain
4 - Poor |  |  | 4 - High | [5 empty] | Pump Station – Pumps | 20 | Gravity Mains Vitrified Clay | 100 |  |  | 1 | 1 - Within 100 feet of a known hazardous site |  |  |  |  | Proximity to Environmental Hazard | 0.5 | 1 | 0.5 | 0.5 | 0 | Not in close proximity to known hazardous site |  | Proximity to Environmental Hazard | 0.5 | 0 | Not in close proximity to known hazardous site
5 - Failure Imminent |  |  | 5 - Severe | [5 empty] | Pump Stations – Electrical | 50 | Gravity Mains ACP | 70 | * |  | 2 | 2 - Within a site with known environmental hazards | [9 empty] | 1 | Within 100 feet of known hazardous site |  |  |  | 1 | Within 100 feet of known hazardous site
[9 empty] | Pump Stations – Mechanical | 50 | Infiltration Basins | 100 |  | Proximity to Building | 0 | 0 - More than 20 feet from a building | 2 | 1 | 2 | 10 | [5 empty] | 2 | within a site with known environmental hazards |  |  |  | 2 | within a site with known environmental hazards
[9 empty] | Pump Stations – Structural | 50 | Laterals Brick | 50 |  |  | 1 | 1 - Within 20 feet of a building |  |  |  |  | Proximity to Buildings | 2 | 3 | 2 | 2 | 0 | More than 20 feet from a building |  | Stream Type | 1 | 1 | Ditch
[9 empty] | From the Grand Rapids Stormwater Asset Management Plan |  | Laterals Concrete | 50 |  |  | 2 | 2 - Under a building | [9 empty] | 1 | Within 20 feet of a building |  |  |  | 3 | Stream
[11 empty] | Laterals Corrugated Metal | 65 |  | Proximity to Roadway | 0 | 0 - Outside of ROW | 50 | 1 | 1 | 5 | [5 empty] | 2 | Under a building |  | Type of Crossing | 2 | 0 | Crosses minor road
References | [10 empty] | Laterals Ductile Iron | 50 |  |  | 10 | 10 - Within ROW of minor road |  |  |  |  | Proximity to Roadway | 1 | 1 | 1 | 1 | 0 | Pipe is outside of ROW |  |  |  | 1 | Crosses major road or railroad
EPA, Office of Water (4606M). 2003. Asset Management: A Handbook for Small Water Systems. EPA 816-R-03-016. https://www.epa.gov/dwcapacity/asset-management-resources-small-drinking-water-systems-0 | [10 empty] | Laterals HDPE | 50 |  |  | 15 | 15 - Within ROW of major road | [9 empty] | 10 | Pipe is within ROW of minor road |  | Total | 10
City of Grand Rapids, MI Environmental Protection Services Department. 2016. Stormwater Asset Management and Capital Improvement Plan. http://grcity.us/enterprise-services/Environment-Services/Pages/Stormwater-Asset-Management-Plan.aspx | [10 empty] | Laterals PVC | 50 |  |  | 40 | 40 -Under pavement of minor road | [9 empty] | 15 | Pipe is within ROW of major road
[11 empty] | Laterals Truss Pipe | 50 |  |  | 50 | 50 - Under pavement of major road | [9 empty] | 40 | Pipe is under pavement of minor road
[11 empty] | Laterals Vitrified Clay | 50 |  | Totals |  |  |  |  | 10 | 50 | [5 empty] | 50 | Pipe is under pavement of major road
[11 empty] | Laterals ACP | 70 | * | Copy this value to the "Weighted Value from COF Table" Field ^^^^^^^^^^^^ | [6 empty] | Total | 10 | 10 | 10 | 10
[11 empty] | Manholes | 100
[11 empty] | Ditches | 10
[11 empty] | Ditches PVC | 25 | [9 empty] | COF Factors | Weights |  |  | Value | Rating Description
[11 empty] | Ditches Concrete | 50 | [10 empty] | Outfalls | Manholes | Catch Basins
[11 empty] | Outfalls | 75 | [9 empty] | Depth of Structure | 0 | 2.5 | 0 | 1 | depth <= 8 feet
[11 empty] | Pressurized Mains | 75 | [13 empty] | 3 | 8 < depth <= 15 feet
[11 empty] | Pump | 20 | [13 empty] | 10 | depth > 15 feet
[11 empty] | * Reference: Chrysotile Institute | [10 empty] | Structure Diameter | 8 | 2.5 | 4 | 2 | size <= 12 inches
[26 empty] | 10 | 12 < size <= 24 inches
[26 empty] | 25 | 24 < size <= 42 inches
[26 empty] | 35 | 42 < size <= 72 inches
[26 empty] | 50 | size > 72 inches
[22 empty] | Proximity to Floodplain | 1 | 0.5 | 1 | 0 | Not within a floodplain
[26 empty] | 1 | Within the 100 year floodplain | Shouldn’t these be switched?
[26 empty] | 2 | Within the 500 year floodplain
[22 empty] | Proximity to Environmental Hazard | 1 | 0.5 | 1 | 0 | Not in close proximity to known hazardous site
[26 empty] | 1 | Within 100 feet of known hazardous site
[26 empty] | 2 | within a site with known environmental hazards
[22 empty] | Proximity to Buildings | 0 | 2 | 3 | 0 | More than 20 feet from a building
[26 empty] | 1 | Within 20 feet of a building
[26 empty] | 2 | Under a building
[22 empty] | Proximity to Roadway | 0 | 1 | 1 | 0 | Pipe is outside of ROW
[26 empty] | 10 | Pipe is within ROW of minor road
[26 empty] | 15 | Pipe is within ROW of major road
[26 empty] | 40 | Pipe is under pavement of minor road
[26 empty] | 50 | Pipe is under pavement of major road
[22 empty] | Complex Structure | 0 | 1 | NA | 0 | Structure has appurtenances inside
[26 empty] | 1 | No appurtenances inside the structure
[22 empty] | Total | 10 | 10 | 10