## Instructions
Total Costs Workbook
August 24 2018 Template
Overview:
This workbook was developed by the Environmental Finance Center (EFC) at California State University, Sacramento (Sacramento State) for municipalities and rural communities in EPA Region 9 of to facilitate the creation of an asset management plan for stormwater infrastructure. Funded by a USEPA grant.
How to use this Workbook:
The Total Costs Workbook can be used by municipalities to compute a complete, annual sum of costs for permit compliance, existing system maintenance and upgrades (Level of Service), and future new infrastructure.
Instructions
Instructions are listed below for completing the worksheets and compiling the total costs for the existing system and future buildouts.
The estimated costs for the identified LOS can be copied from the Level of Service Workbook by copying all values in the "Baseline LOS" tab and pasting it into the cells of the “BaselineLOS” tab of this workbook. Alternatively, the total sum at the bottom of the "Baseline LOS" tab of the Level of Service Workbook can be pasted into the "EXISTING SYSTEM" tab into the appropriate summary cost line.
Estimated costs for permit compliance can be similarly copied from the Permitting Costs Workbook or simply recorded directly into the tabs associated with ”PERMIT COSTS” in the Total Costs Workbook.
Estimated costs for future buildouts do not have a current template in the toolkit, as these are likely to be assessed and financed in many different ways. Any estimated infrastructure costs can be included in the “FUTURE BUILDOUTS” tab directly. As noted previously, this section is intended for any new infrastructure that will be built to meet flood control or water quality requirements. Newly developed infrastructure on private lands, which is either paid for directly by developers or funded by developer fees, would not be included here without accounting for the additional revenue that paid for the infrastructure as part of the Rate Structure Analysis workbook.
In the “SUMMARY” tab, the costs for each component of system management are totaled and graphed, showing the contributing costs over the assessed time period.

## SUMMARY
| 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038
Categories | Current Annual Costs | Yr 1 Costs | Yr 2 Costs | Yr 3 Costs | Yr 4 Costs | Yr 5 Costs | Yr 6 Costs | Yr 7 Costs | Yr 8 Costs | Yr 9 Costs | Yr 10 Costs | Yr 11 Costs | Yr 12 Costs | Yr 13 Costs | Yr 14 Costs | Yr 15 Costs | Yr 16 Costs | Yr 17 Costs | Yr 18 Costs | Yr 19 Costs | Yr 20 Costs
O&M of Existing Assets | 126862 | 130667.86 | 134587.8958 | 138625.5327 | 142784.2987 | 147067.8276 | 151479.8624 | 156024.2583 | 160704.9861 | 165526.1356 | 170491.9197 | 175606.6773 | 180874.8776 | 186301.124 | 191890.1577 | 197646.8624 | 203576.2683 | 209683.5563 | 215974.063 | 222453.2849 | 229126.8835
Permit Compliance | 1049397.7692 | 1080879.7023 | 1113306.0934 | 1146705.2762 | 1181106.4345 | 1216539.6275 | 1253035.8163 | 1290626.8908 | 1329345.6975 | 1369226.0685 | 1410302.8505 | 1452611.936 | 1496190.2941 | 1541076.0029 | 1587308.283 | 1634927.5315 | 1683975.3575 | 1734494.6182 | 1786529.4567 | 1840125.3404 | 1895329.1006
Future Buildouts | 3225000 | 3644000 | 4062000 | 17538000 | 19119000 | 20701000 | 38158000 | 39646000 | 41134000 | 14801000 | 14853000 | 14904000 | 14956000 | 15008000 | 15060000 | 15112000 | 15163000 | 15215000 | 15267000 | 0 | 0
TOTAL | 4401259.7692 | 4855547.5623 | 5309893.9892 | 18823330.8089 | 20442890.7331 | 22064607.4551 | 39562515.6788 | 41092651.1491 | 42624050.6836 | 16335752.2041 | 16433794.7702 | 16532218.6133 | 16633065.1717 | 16735377.1269 | 16839198.4407 | 16944574.3939 | 17050551.6257 | 17159178.1745 | 17269503.5197 | 2062578.6253 | 2124455.9841
Yr 2 costs and beyond are based on assumed inflation factor: |  |  | 3%
Assumes Current year is: | 2018

## Inputs
Inputs
Inflation Rate | 3%
Current Year | 2018

## O&M COSTS FOR EXISTING ASSETS
COMPARING COSTS FOR VARIOUS LOS's
| 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038
Level of Service (LOS) | Current Annual Costs2 | Yr 1 Costs | Yr 2 Costs | Yr 3 Costs | Yr 4 Costs | Yr 5 Costs | Yr 6 Costs | Yr 7 Costs | Yr 8 Costs | Yr 9 Costs | Yr 10 Costs | Yr 11 Costs | Yr 12 Costs | Yr 13 Costs | Yr 14 Costs | Yr 15 Costs | Yr 16 Costs | Yr 17 Costs | Yr 18 Costs | Yr 19 Costs | Yr 20 Costs
Baseline LOS | 126862 | 130667.86 | 134587.8958 | 138625.5327 | 142784.2987 | 147067.8276 | 151479.8624 | 156024.2583 | 160704.9861 | 165526.1356 | 170491.9197 | 175606.6773 | 180874.8776 | 186301.124 | 191890.1577 | 197646.8624 | 203576.2683 | 209683.5563 | 215974.063 | 222453.2849 | 229126.8835
Improved LOS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Advanced LOS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Selected Level of Service and Additional O&M
Selected LOS (from above) | 126862 | 130667.86 | 134587.8958 | 138625.5327 | 142784.2987 | 147067.8276 | 151479.8624 | 156024.2583 | 160704.9861 | 165526.1356 | 170491.9197 | 175606.6773 | 180874.8776 | 186301.124 | 191890.1577 | 197646.8624 | 203576.2683 | 209683.5563 | 215974.063 | 222453.2849 | 229126.8835
Additional O&M Not Included in LOS
SUBTOTAL: O&M of Existing Assets | 126862 | 130667.86 | 134587.8958 | 138625.5327 | 142784.2987 | 147067.8276 | 151479.8624 | 156024.2583 | 160704.9861 | 165526.1356 | 170491.9197 | 175606.6773 | 180874.8776 | 186301.124 | 191890.1577 | 197646.8624 | 203576.2683 | 209683.5563 | 215974.063 | 222453.2849 | 229126.8835
Yr 2 costs and beyond are based on assumed inflation factor: |  | 3%
Assumes Current year is: | 2018

## LOS Summary Template
Baseline LOS
Asset Type | Inspection |  | Corrective Maintenance |  | Preventative Maintenance |  | Replacement |  | Total Cost
| Activities & Frequencies | Cost Summary | Activities & Frequencies | Cost Summary | Activities & Frequencies | Cost Summary | Activities & Frequencies | Cost Summary
Gravity Mains | Visually Inspect 25 ft weekly; TV 25 additional 25 ft twice/month | 26452 | Hydro-jet 250 ft monthly | 13476 | Repair 10 ft quarterly | 69870 | Replace 100 ft annually | 17064 | 126862
Force Mains | [8 empty] | 0
Catch Basins | [8 empty] | 0
Outfalls | [8 empty] | 0
Detention Basins | [8 empty] | 0
Culverts | [8 empty] | 0
Total |  | 26452 |  | 13476 |  | 69870 |  | 17064 | 126862
O&M (inspection, corrective and preventative maintenance) | [8 empty] | 109798
Capital Renewal (system renewal) | [8 empty] | 17064
Improved LOS
Asset Type | Inspection |  | Corrective Maintenance |  | Preventative Maintenance |  | Replacement |  | Total Cost
| Activities & Frequencies | Cost Summary | Activities & Frequencies | Cost Summary | Activities & Frequencies | Cost Summary | Activities & Frequencies | Cost Summary
Gravity Mains | [8 empty] | 0
Force Mains | [8 empty] | 0
Catch Basins | [8 empty] | 0
Outfalls | [8 empty] | 0
Detention Basins | [8 empty] | 0
Culverts | [8 empty] | 0
Total |  | 0 |  | 0 |  | 0 |  | 0 | 0
O&M (inspection, corrective and preventative maintenance) | [8 empty] | 0
Capital Renewal (system renewal) | [8 empty] | 0
Advanced LOS
Asset Type | Inspection |  | Corrective Maintenance |  | Preventative Maintenance |  | Replacement |  | Total
| Activities & Frequencies | Cost Summary | Activities & Frequencies | Cost Summary | Activities & Frequencies | Cost Summary | Activities & Frequencies | Cost Summary
Gravity Mains | [8 empty] | 0
Force Mains | [8 empty] | 0
Catch Basins | [8 empty] | 0
Outfalls | [8 empty] | 0
Detention Basins | [8 empty] | 0
Culverts | [8 empty] | 0
Total |  | 0 |  | 0 |  | 0 |  | 0 | 0
O&M (inspection, corrective and preventative maintenance) | [8 empty] | 0
Capital Renewal (system renewal) | [8 empty] | 0

## GrandRapids LOS Summary Example
Baseline LOS
Asset Type | Inspection |  | Corrective Maintenance |  | Preventative Maintenance |  | Replacement |  | Total Cost
| Activities & Frequencies | Cost Summary | Activities & Frequencies | Cost Summary | Activities & Frequencies | Cost Summary | Activities & Frequencies | Cost Summary
Gravity Mains |  | 0 | Respond to failures and complaints for all sewer components. | 200000 |  | 0 |  | 1537000 | 1737000
Force Mains | Visual inspection every 2 weeks during pump station inspection. | Cost is associated with pump station inspections |  | 0 |  | 0
Catch Basins |  | 0 | Clean 2500 annually and perform corrective maintenance. | 600000 |  | 0 |  |  | 600000
Outfalls |  | 0 |  | 0 |  | 0
Detention Basins |  | 0 |  | 0 |  | 0
Culverts |  | 0 | Clean debris, corrective maintenance. | 20000 |  | 0 |  |  | 20000
Total |  | 0 |  | 820000 |  | 0 |  | 1537000 | 2357000
O&M (inspection, corrective and preventative maintenance) | [8 empty] | 820000
Capital Renewal (system renewal) | [8 empty] | 1537000
LOS "C" (Improved)
Asset Type | Inspection |  | Corrective Maintenance |  | Preventative Maintenance |  | Replacement |  | Total Cost
| Activities & Frequencies | Cost Summary | Activities & Frequencies | Cost Summary | Activities & Frequencies | Cost Summary | Activities & Frequencies | Cost Summary
Gravity Mains | PACP CCTV inspect pipes greater than 75 years old over 10-year period. | 110000 | Replace 15% of assets that have reached end of EEL over 10 years. | 299000 | Perform rehabilitation to extend EEL for 10% of inspected sewers over 10 years. | 647000 | Replace every 150 years. | 2439000 | 3495000
Force Mains | Visual inspection every 2 weeks during pump station inspection. PACP CCTV inspect every 15 years. | 200 |  |  |  |  | Replace every 100 years. | 1000 | 1200
Catch Basins | Clean and inspect 25% annually (Approx. 4264). Record and monitor debris levels for cleaning prioritization. | 639000 | Clean 2500 annually and perform corrective maintenance. | 24000 | Replace 15% of assets that have reached end of EEL over 10 years. | 14000 | Replace every 100 years. | 560000 | 1237000
Outfalls | Inspect all outfall points every 5 years per MS4 requirements. | 28000 | Replace top 10% by POF each cycle. | 66000 | Stabilize bank and erosion control at 5% of assets each cycle. | 1200 | Replace every 150 years. | 12000 | 107200
Detention Basins | Complete site inspection 3 times annually including routine maintenance. | 6500 |  |  |  |  | Facility renovation every 100 years. Includes regrading, seeding, renew inlet/outlet structures. | 11300 | 17800
Culverts | CCTV/walk/inspect 50% of culverts annually. | 9700 | Replace/rehabilitate top 5% by POF. |  | Clean 20% of all assets annually. | 43000 | Replace every 150 years. | 11000 | 63700
Total |  | 793400 |  | 389000 |  | 705200 |  | 3034300 | 4921900
O&M (inspection, corrective and preventative maintenance) | [8 empty] | 1887600
Capital Renewal (system renewal) | [8 empty] | 3034300
LOS "A" (Advanced)
Asset Type | Inspection |  | Corrective Maintenance |  | Preventative Maintenance |  | Replacement |  | Total
| Activities & Frequencies | Cost Summary | Activities & Frequencies | Cost Summary | Activities & Frequencies | Cost Summary | Activities & Frequencies | Cost Summary
Gravity Mains | PACP CCTV inspect system over 10-year period. | 482000 | Replace 50% of assets that have reached end of EEL over 10 years. | 996000 | Perform rehabilitation to extend EEL for 10% of inspected sewers over 10 years. | 3252000 | Replace every 100 years. | 8388000 | 13118000
Force Mains | Visual inspection every 2 weeks during pump station inspection. PACP CCTV inspect every 5 years. | 500 |  |  |  |  | Replace every 75 years. | 1800 | 2300
Catch Basins | Clean and inspect 50% annually (Approx. 8527). Record and monitor debris levels for cleaning prioritization. | 1276500 | Replace 50% of assets that have reached end of EEL over 10 years. | 80000 | Perform rehabilitation to extend EEL for 10% of inspected catch basins over 10 years. | 94000 | Replace every 50 years. | 1119000 | 2569500
Outfalls | Inspect all outfall points every 3 years to satisfy MS4 requirements. | 47000 | Replace top 10% by POF each cycle. | 142000 | Stabilize bank and erosion control at 15% of assets each cycle. | 27000 | Replace every 100 years. | 1700 | 217700
Detention Basins | Complete site inspection 3 times annually including routine maintenance. | 6500 |  |  |  |  | Facility renovation every 50 years. Includes regrading, seeding, renew inlet/outlet structures. | 22500 | 29000
Culverts | CCTV/walk/inspect all culverts annually. | 19300 | Replace/rehabilitate top 10% by POF. |  |  | 86000 | Replace every 100 years. | 17000 | 122300
Total |  | 1831800 |  | 1218000 |  | 3459000 |  | 9550000 | 16058800
O&M (inspection, corrective and preventative maintenance) | [8 empty] | 6508800
Capital Renewal (system renewal) | [8 empty] | 9550000

## Detailed Costs Template
Baseline LOS
Asset Type | Activity Type | Activity | Asset Units | Quantity of Assets | Personnel | Labor Rate | Hours | Labor Cost | Equipment, Materials, Services | Unit | Quantity | Unit Cost | Cost | Total Cost per Activity | Times Performed Annually | Annual Cost | Annual Activity type cost
Gravity Mains | Inspection | Visual Inspection | Linear Feet | 25 | Worker 1 | 18.5 | 4 | 74 | Truck | miles | 50 | 0.54 | 27 | 175 | 52 | 9100 | 26452
[5 empty] | Worker 1 | 18.5 | 4 | 74 |  |  |  |  | 0
|  | Visual Inspection | Linear Feet | 25 | Worker 1 | 18.5 | 8 | 148 | Truck | miles | 50 | 0.54 | 27 | 723 | 24 | 17352
[5 empty] | Worker 1 | 18.5 | 8 | 148 | CCTV Camera Rental | days | 1 | 200 | 200
[5 empty] | Equipment Specialist | 25 | 8 | 200 |  |  |  |  | 0
| Preventative Maintenance | Hydro Jetting | Linear Feet | 250 | Worker 1 | 18.5 | 8 | 148 | Truck | miles | 50 | 0.54 | 27 | 1123 | 12 | 13476 | 13476
[5 empty] | Worker 1 | 18.5 | 8 | 148 | Hydro-Jet Machine | Hours | 8 | 100 | 800
| Corrective Maintenance | Failed Asset Repair | Linear Feet | 5 | Worker 1 | 18.5 | 80 | 1480 | Truck | miles | 50 | 0.54 | 27 | 6987 | 10 | 69870 | 69870
[5 empty] | Worker 1 | 18.5 | 80 | 1480
[5 empty] | Welder | 50 | 80 | 4000
| System Renewal | Failed Asset Replacement | Linear Feet | 100 | Worker 1 | 18.5 | 80 | 1480 | Truck | miles | 50 | 0.54 | 27 | 17064 | 1 | 17064 | 17064
[5 empty] | Worker 1 | 18.5 | 80 | 1480 | Semi Truck | miles | 50 | 1.54 | 77
[5 empty] | Welder | 50 | 80 | 4000 | Crane | Hours | 20 | 500 | 10000
Catch Basins | [16 empty] | 0
Outfalls
Detention Basins
Culverts
Laterals
Open Channels
Ditches
Pressurized Mains
Siphons
Manholes
Pumps
Bed Filter
Dry Basin
Infiltration Basin
Media Filter
Treatment Vault
Wet Basin
Biostrip
Biofiltration
Bioretention
Bioswale
Infiltration Feature
Porous Pavement
Settling Basin
Green Street
End | End | End | End | End | End | End | End | End | End | End | End | End | End | End |  |  | 0

## PERMIT COSTS
|  | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038
Category # | Activities | Current Annual Costs | Yr 1 Costs | Yr 2 Costs | Yr 3 Costs | Yr 4 Costs | Yr 5 Costs | Yr 6 Costs | Yr 7 Costs | Yr 8 Costs | Yr 9 Costs | Yr 10 Costs | Yr 11 Costs | Yr 12 Costs | Yr 13 Costs | Yr 14 Costs | Yr 15 Costs | Yr 16 Costs | Yr 17 Costs | Yr 18 Costs | Yr 19 Costs | Yr 20 Costs
1 | Construction Site Stormwater Runoff Control | 34535.7692 | 35571.8423 | 36638.9976 | 37738.1675 | 38870.3125 | 40036.4219 | 41237.5146 | 42474.64 | 43748.8792 | 45061.3456 | 46413.1859 | 47805.5815 | 49239.749 | 50716.9414 | 52238.4497 | 53805.6032 | 55419.7713 | 57082.3644 | 58794.8353 | 60558.6804 | 62375.4408
2 | Illicit Discharge Detection and Elimination | 28350 | 29200.5 | 30076.515 | 30978.8105 | 31908.1748 | 32865.42 | 33851.3826 | 34866.9241 | 35912.9318 | 36990.3198 | 38100.0294 | 39243.0302 | 40420.3211 | 41632.9308 | 42881.9187 | 44168.3763 | 45493.4275 | 46858.2304 | 48263.9773 | 49711.8966 | 51203.2535
3 | Industrial and Commercial Management | 37966 | 39104.98 | 40278.1294 | 41486.4733 | 42731.0675 | 44012.9995 | 45333.3895 | 46693.3912 | 48094.1929 | 49537.0187 | 51023.1293 | 52553.8231 | 54130.4378 | 55754.351 | 57426.9815 | 59149.7909 | 60924.2847 | 62752.0132 | 64634.5736 | 66573.6108 | 68570.8191
4 | Pollution Prevention/Good Housekeeping for Municipal Operations | 587125 | 604738.75 | 622880.9125 | 641567.3399 | 660814.3601 | 680638.7909 | 701057.9546 | 722089.6932 | 743752.384 | 766064.9556 | 789046.9042 | 812718.3113 | 837099.8607 | 862212.8565 | 888079.2422 | 914721.6195 | 942163.2681 | 970428.1661 | 999541.0111 | 1029527.2414 | 1060413.0587
5 | Post Construction Stormwater Management for New/Re-Development | 15381 | 15842.43 | 16317.7029 | 16807.234 | 17311.451 | 17830.7945 | 18365.7184 | 18916.6899 | 19484.1906 | 20068.7163 | 20670.7778 | 21290.9012 | 21929.6282 | 22587.517 | 23265.1426 | 23963.0968 | 24681.9897 | 25422.4494 | 26185.1229 | 26970.6766 | 27779.7969
6 | Public Education, Outreach, Involvement, and Participation | 5320 | 5479.6 | 5643.988 | 5813.3076 | 5987.7069 | 6167.3381 | 6352.3582 | 6542.929 | 6739.2168 | 6941.3933 | 7149.6351 | 7364.1242 | 7585.0479 | 7812.5994 | 8046.9773 | 8288.3867 | 8537.0383 | 8793.1494 | 9056.9439 | 9328.6522 | 9608.5118
7 | Water Quality Monitoring | 160000 | 164800 | 169744 | 174836.32 | 180081.4096 | 185483.8519 | 191048.3674 | 196779.8185 | 202683.213 | 208763.7094 | 215026.6207 | 221477.4193 | 228121.7419 | 234965.3942 | 242014.356 | 249274.7867 | 256753.0303 | 264455.6212 | 272389.2898 | 280560.9685 | 288977.7975
8 | Overall Stormwater Program Management | 30720 | 31641.6 | 32590.848 | 33568.5734 | 34575.6306 | 35612.8996 | 36681.2865 | 37781.7251 | 38915.1769 | 40082.6322 | 41285.1112 | 42523.6645 | 43799.3744 | 45113.3557 | 46466.7563 | 47860.759 | 49296.5818 | 50775.4793 | 52298.7436 | 53867.706 | 55483.7371
9 | Long-Term Planning (e.g., Trash Amendment, TMDL Compliance, Watershed Management Coordination) | 150000 | 154500 | 159135 | 163909.05 | 168826.3215 | 173891.1111 | 179107.8445 | 184481.0798 | 190015.5122 | 195715.9776 | 201587.4569 | 207635.0806 | 213864.133 | 220280.057 | 226888.4587 | 233695.1125 | 240705.9659 | 247927.1448 | 255364.9592 | 263025.908 | 270916.6852
| Subtotal | 1049397.7692 | 1080879.7023 | 1113306.0934 | 1146705.2762 | 1181106.4345 | 1216539.6275 | 1253035.8163 | 1290626.8908 | 1329345.6975 | 1369226.0685 | 1410302.8505 | 1452611.936 | 1496190.2941 | 1541076.0029 | 1587308.283 | 1634927.5315 | 1683975.3575 | 1734494.6182 | 1786529.4567 | 1840125.3404 | 1895329.1006
Yr 2 costs and beyond are based on assumed inflation factor: | bar: 2018
| Assumes Current year is: | 2018: 2018

## 1
Construction Site Stormwater Runoff Control
| Cost Items | Labor Costs |  |  | Miscellaneous Costs |  |  |  | Total Cost | Existing Funding | Funding Source
|  | # FTE | Salary + Fringe + Accrual | Labor Cost | Units | Cost/Unit | # of Units | Miscellaneous Cost
| Labor - Contracted inspectors |  |  | 16340 |  |  |  |  | 16340
| Labor - City Engineering Technician | 0.05 | 60000 | 3000 |  |  |  |  | 3000
| Labor - City Code Enforcement Supervisor | 0.05 | 110000 | 5500 |  |  |  |  | 5500
| Labor - City Community Enhancement Officer | 0.020192 | 82000 | 1655.7692 |  |  |  |  | 1655.7692
| Labor - City staff 4 | 0.01 | 240000 | 2400 |  |  |  |  | 2400
| Labor - Student interns | [7 empty] | 0
| Labor - Stormwater staff |  |  | 4140 |  |  |  |  | 4140
| Materials | [7 empty] | 0
| Equipment | [7 empty] | 0
| Travel | [7 empty] | 0
| Training |  |  | 1500 |  |  |  |  | 1500
| Other | [7 empty] | 0
0
0
0
0
| Totals |  |  | 34535.7692 |  |  |  | 0 | 34535.7692 | 0
| Typical Activities |  | Assumptions and References
Develop/update BMP handbook(s)/resources
Issue grading permits
SWPPP reviews
Issue of enforcement actions
Send winterization letters (to property owners with active construction sites to remind contractors to prepare their construction sites for the rainy season and to submit winterization certifications)
Develop/maintain database to track inspections and enforcement actions (for private development construction sites)

## 2
Illicit Discharge Detection and Elimination
| Cost Items | Labor Costs |  |  | Miscellaneous Costs |  |  |  | Total Cost | Existing Funding | Funding Source
|  | # FTE | Salary + Fringe + Accrual | Labor Cost | Units | Cost/Unit | # of Units | Miscellaneous Cost
| Labor - Contracted Inspectors |  |  | 730 |  |  |  |  | 730
| Labor - City Engineering Technician | 0.04 | 63000 | 2520 |  |  |  |  | 2520
| Labor - City Public Works Project Supervisor | 0.05 | 135000 | 6750 |  |  |  |  | 6750
| Labor - City Code Enforcement Supervisor | 0.1 | 110000 | 11000 |  |  |  |  | 11000
| Labor - City Community Enhancement Officer | 0.075 | 82000 | 6150 |  |  |  |  | 6150
| Labor - Student interns | [7 empty] | 0
| Labor - Stormwater staff | [7 empty] | 0
| Materials | [7 empty] | 0
| Equipment | [7 empty] | 0
| Travel |  |  | 1200 |  |  |  |  | 1200
| Training | [7 empty] | 0
| Other | [7 empty] | 0
0
0
0
0
| Totals |  |  | 28350 |  |  |  | 0 | 28350 | 0
| Typical Activities |  | Assumptions and References
Investigate calls reporting potential illicit discharge
Issue enforcement actions

## 3
Industrial and Commercial Management
| Cost Items | Labor Costs |  |  | Miscellaneous Costs |  |  |  | Total Cost | Existing Funding | Funding Source
|  | # FTE | Salary + Fringe + Accrual | Labor Cost | Units | Cost/Unit | # of Units | Miscellaneous Cost
| Labor - Contracted Inspectors |  |  | 26975 |  |  |  |  | 26975
| Labor - City Code Enforcement Supervisor | 0.1 | 110 | 11 |  |  |  |  | 11
| Labor - City Community Enhancement Officer | 0.07 | 82000 | 5740 |  |  |  |  | 5000
| Labor - City Public Works Director | 0.004 | 245000 | 980 |  |  |  |  | 980
| Labor - City staff 4 | [7 empty] | 0
| Labor - Student interns | [7 empty] | 0
| Labor - Stormwater staff |  |  | 5000 |  |  |  |  | 5000
| Materials | [7 empty] | 0
| Equipment | [7 empty] | 0
| Travel | [7 empty] | 0
| Training | [7 empty] | 0
| Other | [7 empty] | 0
0
0
0
0
| Totals |  |  | 38706 |  |  |  | 0 | 37966 | 0
| Typical Activities |  | Assumptions and References
Conduct inspections
Develop/update BMP handbook(s)/resources
Issue enforcement actions

## 4
Pollution Prevention/Good Housekeeping for Municipal Operations
| Cost Items | Labor Costs |  |  | Miscellaneous Costs |  |  |  | Total Cost | Existing Funding | Funding Source
|  | # FTE | Salary + Fringe + Accrual | Labor Cost | Units | Cost/Unit | # of Units | Miscellaneous Cost
| Street sweeping |  |  | 500000 |  |  |  |  | 500000
| Labor - maintenance staff | [7 empty] | 0
| Labor - student interns | [7 empty] | 0
| Labor - stormwater staff | [7 empty] | 0
| Materials | [7 empty] | 0
| Equipment | [7 empty] | 0
| Travel | [7 empty] | 0
| Training | [7 empty] | 0
| Other | [7 empty] | 0
0
| Drainage System Maintenance | [7 empty] | 0
| Catch Basin Cleaning - Senior Maintenance Worker 1 | 0.535 | 75000 | 40125 |  |  |  |  | 40125
| Catch Basin Cleaning - Senior Maintenance Worker 2 | 0.535 | 80000 | 42800 |  |  |  |  | 42800
| Labor - student interns |  | . | [5 empty] | 0
| Labor - stormwater staff | [7 empty] | 0
| Materials | [7 empty] | 0
| Equipment | [7 empty] | 0
| Travel | [7 empty] | 0
| Training | [7 empty] | 0
| Other | [7 empty] | 0
0
| Pollution Prevention | [7 empty] | 0
| Labor - maintenance staff | [7 empty] | 0
| Labor - student interns | [7 empty] | 0
| Labor - stormwater staff | [7 empty] | 0
| Materials | [7 empty] | 0
| Equipment | [7 empty] | 0
| Travel | [7 empty] | 0
| Training | [7 empty] | 0
| Other | [7 empty] | 0
0
| Pump Station Cleaning | [7 empty] | 0
| Labor - maintenance staff | [7 empty] | 0
| Labor - student interns | [7 empty] | 0
| Labor - stormwater staff | [7 empty] | 0
| Materials | [7 empty] | 0
| Equipment | [7 empty] | 0
| Travel | [7 empty] | 0
| Training | [7 empty] | 0
| Other | [7 empty] | 0
0
| Public Facility Maintenance and BMPs for Field Activities | [7 empty] | 0
| Labor - maintenance staff | [7 empty] | 0
| Labor - student interns | [7 empty] | 0
| Labor - stormwater staff |  |  | 3000 |  |  |  |  | 3000
| Materials | [7 empty] | 0
| Equipment | [7 empty] | 0
| Travel | [7 empty] | 0
| Training |  |  | 1200 |  |  |  |  | 1200
| Other |  |  | 0 |  |  |  |  | 0
|  |  |  | 0 |  |  |  |  | 0
| Total |  |  | 587125 |  |  |  | 0 | 587125 | 0
| Typical Activities |  | Assumptions and References
Street sweeping
Drainage system maintenance
Pollution prevention
Pump station cleaning
Public facility maintenance

## 5
Post Construction Stormwater Management for New/Re-Development
| Cost Items | Labor Costs |  |  | Miscellaneous Costs |  |  |  | Total Cost | Existing Funding | Funding Source
|  | # FTE | Salary + Fringe + Accrual | Labor Cost | Units | Cost/Unit | # of Units | Miscellaneous Cost
| Labor - Contracted Inspectors |  |  | 1400 |  |  |  |  | 1400
| Labor - City Civil Engineering Assistant | 0.092 | 70000 | 6440 |  |  |  |  | 6440
| Labor - Ciy Public Works Project Supervisor | 0.0115 | 134000 | 1541 |  |  |  |  | 1541
| Labor - Student interns | [7 empty] | 0
| Labor - Contracted Stormwater staff |  |  | 6000 |  |  |  |  | 6000
| Materials | [7 empty] | 0
| Equipment | [7 empty] | 0
| Travel | [7 empty] | 0
| Training | [7 empty] | 0
| Other | [7 empty] | 0
0
0
0
0
| Totals |  |  | 15381 |  |  |  | 0 | 15381 | 0
| Typical Activities |  | Assumptions and References
Develop/update BMP handbook(s)/resources
Review plans and issue permits
Issue enforcement actions
Develop/maintain database to track new infrastructure

## 6
Public Education, Outreach, Involvement, and Participation
| Cost Items | Labor Costs |  |  | Miscellaneous Costs |  |  |  | Total Cost | Existing Funding | Funding Source
|  | # FTE | Salary + Fringe + Accrual | Labor Cost | Units | Cost/Unit | # of Units | Miscellaneous Cost
| Labor - Student interns | [7 empty] | 0
| Labor - Contracted stormwater staff |  |  | 2800 |  |  |  |  | 2800
| Labor - City Code Enforcement Supervisor | 0.024 | 105000 | 2520 |  |  |  |  | 2520
| Materials | [7 empty] | 0
| Equipment | [7 empty] | 0
| Travel | [7 empty] | 0
| Fees | [7 empty] | 0
| Training | [7 empty] | 0
| Other | [7 empty] | 0
0
0
0
0
0
0
0
| Totals |  |  | 5320 |  |  |  | 0 | 5320 | 0
| Typical Activities |  | Assumptions and References
Developing Integrated Pest Management (IPM)
Television
Radio
Billboard
Newspaper
Mailings
Participation in public events
Grants
Project development
Agriculture outreach
Pet outreach
Elementary education

## 7
Water Quality Monitoring
| Cost Items | Labor Costs |  |  | Miscellaneous Costs |  |  |  | Total Cost | Existing Funding | Funding Source
|  | # FTE | Salary + Fringe + Accrual | Labor Cost | Units | Cost/Unit | # of Units | Miscellaneous Cost
| Labor - student intern | [7 empty] | 0
| Labor - stormwater staff | [7 empty] | 0
| Materials | [7 empty] | 0
| Equipment | [7 empty] | 0
| Travel | [7 empty] | 0
| Regional/State program fees | [7 empty] | 0
| QAPP/SAP preparation | [7 empty] | 0
| Sample collection | [7 empty] | 0
| Sample laboratory analysis | [7 empty] | 0
| Third party modeling/analysis/reporting | [7 empty] | 0
| Training | [7 empty] | 0
| Other: |  |  | 160000 |  |  |  |  | 160000
0
0
0
0
| Totals |  |  | 160000 |  |  |  | 0 | 160000 | 0
| Typical Activities |  | Assumptions and References
QAPP/SAP preparation
Sample collection
Sample laboratory analysis
Data analysis and reporting
Fee paid for joint monitoring effort conducted by Watershed Group

## 8
Overall Stormwater Program Management
| Cost Items | Labor Costs |  |  | Miscellaneous Costs |  |  |  | Total Cost | Existing Funding | Funding Source
|  | # FTE | Salary + Fringe + Accrual | Labor Cost | Units | Cost/Unit | # of Units | Miscellaneous Cost
| Labor - Student interns | [7 empty] | 0
| Labor - Contracted stormwater staff |  |  | 24000 |  |  |  |  | 24000
| Labor - City Public Works Director | 0.028 | 240000 | 6720 |  |  |  |  | 6720
| Materials | [7 empty] | 0
| Equipment | [7 empty] | 0
| Travel | [7 empty] | 0
| Fees | [7 empty] | 0
| Professional Organization fees (e.g. CASQA, ASCE) | [7 empty] | 0
| NPDES fees | [7 empty] | 0
| Legal fees | [7 empty] | 0
| Training | [7 empty] | 0
| Other | [7 empty] | 0
0
0
0
0
| Totals |  |  | 30720 |  |  |  | 0 | 30720 | 0
| Typical Activities |  | Assumptions and References
Program Effectiveness Assessment
Annual Reporting
Permit compliance administration

## 9
Long-Term Planning (e.g., Trash Amendment, TMDL Compliance, Watershed Management Coordination)
| Cost Items | Labor Costs |  |  | Miscellaneous Costs |  |  |  | Total Cost | Existing Funding | Funding Source
|  | # FTE | Salary + Fringe + Accrual | Labor Cost | Units | Cost/Unit | # of Units | Miscellaneous Cost
| Labor - Student interns | [7 empty] | 0
| Labor - Contracted Stormwater staff |  |  | 5000 |  |  |  |  | 5000
| Materials | [7 empty] | 0
| Equipment | [7 empty] | 0
| Travel | [7 empty] | 0
| Fees | [7 empty] | 0
| Training | [7 empty] | 0
| Project 1 - Catch basin retrofits |  |  |  | 30 | 1500 |  | 45000 | 45000
| Project 2 - 30% design for Cortez Park |  |  | 100000 |  |  |  |  | 100000
| Project 3 | [7 empty] | 0
| etc. | [7 empty] | 0
| Other | [7 empty] | 0
0
0
0
0
| Totals |  |  | 105000 |  |  |  | 45000 | 150000 | 0
| Typical Activities |  | Assumptions and References
Program coordination/administration
Planning/Design/Permitting of Infrastructure
Operation and maintenance of infrastructure

## FUTURE BUILDOUT COSTS
| 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038
Activities | Current Annual Costs | Yr 1 Costs | Yr 2 Costs | Yr 3 Costs | Yr 4 Costs | Yr 5 Costs | Yr 6 Costs | Yr 7 Costs | Yr 8 Costs | Yr 9 Costs | Yr 10 Costs | Yr 11 Costs | Yr 12 Costs | Yr 13 Costs | Yr 14 Costs | Yr 15 Costs | Yr 16 Costs | Yr 17 Costs | Yr 18 Costs | Yr 19 Costs | Yr 20 Costs
EWMP Future Buildouts1 | 3225000 | 3644000 | 4062000 | 17538000 | 19119000 | 20701000 | 38158000 | 39646000 | 41134000 | 14801000 | 14853000 | 14904000 | 14956000 | 15008000 | 15060000 | 15112000 | 15163000 | 15215000 | 15267000 | - | -
Buildout 2
Buildout 3
Total | 3225000 | 3644000 | 4062000 | 17538000 | 19119000 | 20701000 | 38158000 | 39646000 | 41134000 | 14801000 | 14853000 | 14904000 | 14956000 | 15008000 | 15060000 | 15112000 | 15163000 | 15215000 | 15267000 | 0 | 0
1 costs taken from XXXX Enhanced Watershed Management Plan (costs for community YYYY only)
Assumes Current year is: | 2018