# Instructions

The following tables can be used to assess various technical, managerial, and financial aspects of a water system (drinking, waste, or storm).  The information is intended to provide a comprehensive overview of general system problems and weaknesses, and the resulting findings can be used to identify general needs to address such issues.  To effectively communicate with water system representatives and other interested stakeholders, consider developing a short work plan that documents the system and community characteristics, issues and needs, and general path forward, including associated output.  Several work plan templates are available.

When beginning work with a utility, an evaluator should request copies of the latest sanitary survey for water systems (if available) and other applicable materials that can help complete the following tables. Federal drinking water regulations require a sanitary survey be conducted at least every 3 years for community water systems. Sanitary surveys have 8 components, which are heavily technical but include some managerial and financial components as well.

-------------------------------------------------------------------------------------------------------------------------------

General Information

System/Community Name: XXX

System Location: City, County, State, EPA Region (as applicable)

System/Community Contact(s): Names, emails, ph #s

System Type: DW, WW, or SW

Population Served: ###

Community Socioeconomic Status: Describe, e.g., meets state defn of a disadvantaged community, underserved region, colonias

Technical Capacity

Violations in past five years

(W) MCL or treatment technique violations: Yes or No If Yes, describe.

(WW) Sanitary sewer overflows or discharge level violations: Yes or No If Yes, describe.

(W/WW) Failures to monitor or report: Yes or No If Yes, describe.

Other potential deficiencies

(W) Storage and pressure deficiencies: Yes or No If Yes, describe. *Note: Small water systems don’t always have enough storage and pressure for peaks.

(W) Well pump deficiencies: Yes or No If Yes, describe.

(W) Substantial water loss: Yes or No If Yes, describe

(W) Coliform positives within last 2 years: Yes or No If Yes, describe follow up actions such as source water monitoring and any concerns identified.

(W) For surface water systems, does the system avoid filtration? Yes or No or NA

(W) For surface water systems, has a comprehensive performance evaluation been conducted? Yes or No or NA If Yes, describe results.

(W) For surface water systems, is continuous turbidity monitoring data provided? Yes or No or NA

(W) For surface water systems, have any individual filters exceeded 0.5 NTU in the last 3 years? Yes or No or NA If Yes, describe any follow up actions taken.

(W) For surface water systems, have 90% of the lead and copper results exceeded the trigger level (0.010 mg/L) or action level (0.015 mg/L) for lead or 1.3 mg/L copper? Yes or No or NA If Yes, describe the water quality results, source water monitoring and treatment, and corrosion control treatment.

(W) For surface water systems, are there lead service lines? Yes or No or Unknown or NA If Yes, list the #s known and unknown

(W) For surface water systems, have lead service lines been mapped? Yes or No or NA

(W) Is any water purchased? Yes or No If yes, describe the water quality entering the distribution system

(WW) Is there any inflow and/or infiltration? Yes or No If Yes, describe.

(WW) Are there any substantial sewage backups into buildings? Yes or No If Yes, describe.

(SW) Is there any substantial local or regional flooding? Yes or No If Yes, describe.

(W/WW) Is there any equipment that is substantially deteriorated? Yes or No If Yes, describe.

Quantities of water and wastewater

(W, Regions 6-10) Are there any insufficiencies in water rights? Yes or No If Yes, describe.

(W) Is sufficient water quantity available and planned for the future? Yes or No Describe.

(W) What is the planning horizon for water demand estimates? # of years (e.g., 10, 25,50)

(W) For surface water systems, can available withdrawals meet needs into the future? Yes or No or NA. If Yes or No, describe.

(W) For groundwater systems, are there state requirements related to run times for pumps? Yes or No or NA If Yes, describe the state requirements and compare them to actual hours a day that pumps are running.

(W) For groundwater systems, describe the drawdown.

(WW) Can sufficient quantities be discharged for the future? Yes or No Describe.

(WW) What is the planning horizon for future discharge needs? #of years (e.g., 10, 25, 50 years)

(WW) Are there existing or emerging water quality concerns about the receiving water body? Yes or No. If Yes, describe.

(W/WW) Describe how sludge or treatment residuals are managed.

(WW/SW) Is there sufficient storage or holding to handle peak discharges? Yes or No If No, describe.

Managerial Capacity

Operations and permitting

(W/WW/SW?) Are required permits obtained, up to date, and available onsite? Yes or No. If No, describe.

(W/WW) Does the system have sufficient operators of a required level to operate the system? Yes or No. If No, describe.

(W/WW) How often to operators visit the system and does that meet state requirements? Describe.

(W/WW/SW) Are regular records maintained and available? Yes or No If No, describe.

Utility policies

(W/WW/SW) Does the utility have policies and plans governing routine maintenance? Yes or No

(W/WW/SW) Are those policies and plans adhered to in practice? Yes or No If No, describe.

(W/WW/SW) Does the utility plan for future needs including realistic growth expectations? Yes or No? Describe, including the planning time horizon.

(W/WW/SW) Does the utility have an emergency plan? Yes or No. If Yes, Does this plan address power failures? Yes or No.

(W/WW/SW) Has the utility’s emergency plan been followed in practice? Yes or No. If Yes, have post-event evaluations been conducted? Yes or No

(W/WW/SW) Does state require an asset management plan? Yes or No Does the system have an asset management plan? Yes or No If Yes to both questions above, does the system’s plan meet state requirements? Yes or No If No, describe.

(W)Does the water utility have a cross connection control program? Yes or No Does the state have cross connection control program requirements? Yes or No If Yes to both questions, does the system’s program meet state requirements? Yes of No. If No, describe.

(WW) Is there a process to track and limit sanitary sewer overflows? Yes or No.

Financial Capacity

Financial plans and controls

(W/WW/SW) Does the utility have a capital improvements plan? Yes or No? IF Yes, describe the time horizon of that plan.

(W/WW/SW) Does the utility have financial controls? Yes or No If Yes, are good accounting practices adhered to? Yes or No Is there oversight of cash flow and account management? Yes or No

(W/WW/SW) Is the utility’s budget publicly available? Yes or No

(W/WW/SW) Is the utility audited annually? Yes or No. Is the audit report available? Yes of No

(W/WW/SW) Does the utility have a formal cutoff policy? Yes or No. If Yes, is that followed? Yes or No

(W/WW/SW) Does the utility have a policy to review and adjust rates? Yes or No

(W/WW/SW) Has the utility reviewed and adjusted rates in the last 5 years? Yes or No Did the review compare rates coming in with expenses? Yes or No (W/WW/SW) Are gradual rate adjustment used? Yes or No

Recommended financial targets

(W/WW/SW) Does the utility have financial targets? Yes or No If Yes, do financial staff know what they are? Yes or No

(W/WW/SW) Does the utility have a bond rating? Yes or No If yes, describe.

(W/WW/SW) Does the utility have between 6 and 18 months of cash on hand? Yes or No

(W/WW/SW) Is the utility’s operating ratio without depreciation known? Yes or No If Yes, is it higher than 1.2? Yes or No

(W/WW/SW) Is the utility’s operating ratio with depreciation know? Yes or No If yes, is it higher than 1.5? Yes or No

(W/WW/SW) Does the utility account for depreciation? Yes or No