Closing America’s Wastewater Access Gap

Community Initiative

Community Wastewater Assessment Template

November 2022

## U.S. Environmental Protection Agency/U.S. Department of Agriculture

Closing America’s Wastewater Access Gap Community Initiative

Community Wastewater Assessment Template

## Purpose

The U.S. Environmental Protection Agency (USEPA) and the U.S. Department of Agriculture Rural Development (USDA-RD) developed this Closing America’s Wastewater Access Gap Community Wastewater Assessment (“Assessment”) template to facilitate provisions of technical assistance for decentralized wastewater solutions.

This Community Wastewater Assessment template is meant to be a starting point for each communiy to help facilitate thoughtful and consistent approaches. The template can be further tailored to the unique needs of each community.

CONTENTS

Instructions	2

I. Community Engagement and Input	4

Identify community engagement lead	4

Identify key local stakeholders	4

Community engagement plan	4

Convene local stakeholders	4

II. Community Description	6

General description of area	6

Governance	6

Identify local Onsite Wastewater Treatment Systems (OWTS) professionals	7

Disadvantaged and underserved (distressed) community criteria	7

III. Built Environment Assessment	8

Existing utilities	8

Public health issues	8

IV. Natural Environment Assessment	9

Surface waters and water quality	9

Groundwater and water quality	9

One-water approach	9

Soils, topography and hydrogeology	9

V. Assessment of Need	10

Data collection and analyses	10

Site reviews	10

Findings and conclusions	10

GIS risk analyses (as needed)	11

VI. Regulatory and Funding Environment	12

Regulations and permitting	12

Legal considerations	12

Funding Mechanisms	12

| ## I. Community Engagement and Input Purpose: Following the recommended steps for community engagement below can help facilitate effective community engagement. |  |  |
| --- | --- | --- |
| ### Identify community engagement lead | For each community, identify, if one is available, a local community engagement lead or leads with strong local relationships who can support effective community engagement throughout the assessment. | ☐ |
|  | Contact Name/Email/Phone: |  |
|  | Organization Weblinks, Bio, if applicable: |  |
| ### Identify key local stakeholders | Make widely-distributed public announcements of the project and identify key local (local government, community groups, etc.) stakeholders that are important to engage as part of this project. | ☐ |
|  | Identify any gaps in communication, technology, information and communication accessibility, or other special communication considerations or requirements (such as potentially the case in Tribal Communities). | ☐ |
| ### Community engagement plan | Develop a short and simple community engagement plan that includes: - List of key local stakeholders. - Recommendation for holding a public listening session in early 2023. - Outreach and engagement strategies to support access to onsite properties for surveying septic systems. - Recommendation on any additional public meetings to keep the community informed. - Public-facing point of contact. - Recommendations to address any local barriers to participation in public meetings, onsite surveys, or other aspects of this initiative that require community participation (e.g., language, access, cultural, etc.). - Public notifications about the initiative are initiated and released on a set frequency, outlining the assessment’s purpose, funders, federal, state, tribal, and local agency partners. Provide methods to sign-up for periodic updates and mechanisms for community feedback. - Plan for a minimum of two community meetings; one listening session, and one final public meeting near the end of the project. | ☐ |
| ### Convene local stakeholders | Reach out to identified stakeholders with an invitation to participate in the initial public listening session. With support from the project team, respond to questions and inquiries; develop roster of individuals participating. Document all correspondence and responses. Particular efforts should be made to engage underserved or hard-to-reach populations that may otherwise not participate in a listening session. | ☐ |
|  | Work with project team to hold an initial public listening session. During the kick-off meeting, facilitate member introductions, organizational roles, and individual perspectives. Describe objectives and possible options for decentralized wastewater management, to be further informed by the community-specific assessment process. Potential discussion prompts include: - Community wisdom and data gathering: what has their experience been up to this point, what should we be mindful of? - Defining the “community”: who do they think needs to be at the table, what does the “community” look like to them? - Follow up: what is the community’s expectations for when they want updates, and in what form should those updates be provided? How would community members like be included moving forward? Consider holding a pre-meeting with local community-based organizations (when they exist) to strategize and secure joint buy-in for the initial community meetings. Outline key milestones and proposed times in the assessment and planning process for further engagement with the community. Determine (or communicate) expected meeting frequency and next date. Update the approach and key project documents, including templates and the community engagement plan, as appropriate, based on takeaways from the listening session. | ☐ |

| ## II. Community Description Purpose: Identify basic information about municipalities/communities and unsewered portions of each community/ area of interest. |  |  |
| --- | --- | --- |
| ### General description of area | What is the geographical and demographic makeup of the community? E.g., poverty levels, educational levels, linguistic affinity, home ownership rate, income levels, age distribution, parcel size, population, parcel density, property types and values. Identify using publicly available data and verify with project team. | ☐ |
|  | What relevant background information exists that can inform the Community Solutions Plan? Prior assessments, engineering studies, funding applications, etc. | ☐ |
| ### Governance | What is the governance structure for properties? E.g., county, city, town, and/or unincorporated area. | ☐ |
|  | Who taxes properties and what is the local capacity to submit a funding application and successfully manage a wastewater infrastructure project? Staff, resources, competency on topic, and ability to coordinate project through completion. | ☐ |
|  | Are there government-owned properties such as town offices, schools, police, fire, and rescue that may have potential for use of a cluster system? What is the status of existing wastewater infrastructure, and is there potential capacity for a community cluster on any publicly owned properties? | ☐ |
|  | What are the business and economic development considerations for inclusion in any proposed solutions? Are there any privately-owned wastewater facilities or studies referencing wastewater needs or capacities? What are the engineering, planning, legal, and technological capacities? Is the current wastewater management situation impeding any local community rehabilitation plans? What is the estimated economic impact of improving water infrastructure? | ☐ |
|  | Identify historical Operations and Maintenance (O&M) responsibilities, effectiveness, and document any issues. There may be an identified management entity that will be operating and managing the system or, if it is the homeowner, communication is needed to build support for the project. Note, State Revolving Fund (SRF) financing is not available for O&M costs, so alternative sources of funding will need to be identified, including owner fees. | ☐ |
|  | Who is the lead wastewater permitting authority? Are there other local/regional government jurisdictions that may need to be engaged in the development of a wastewater solution? | ☐ |
| ### Identify local Onsite Wastewater Treatment Systems (OWTS) professionals | What are the local requirements for soils and site analysis, testing, designs and installations, system types, and construction? What are the local licensing requirements for design, installation, and maintenance? Provide a list of current design, installation, and maintenance professionals. Identify: Are any professionals licensed near the community? Identify state of the industry: Are there trained and tested local professionals that are aware of newer technologies, one-water approaches, and disposal components? Where is there need for improvement? (Specialized training, change to licensing requirements, regulatory understanding of new technologies and soil-based treatment). Identify existing training programs and entities that exist, if any. | ☐ |
| ### Disadvantaged and underserved (distressed) community criteria | Is the community identified as a disadvantaged community under the state’s current CWSRF “disadvantaged community” definition1? If not, what about based on criteria laid out in USEPA’s BIL implementation memorandum?2 | ☐ |

- https://www.govinfo.gov/content/pkg/CFR-2011-title40-vol1/pdf/CFR-2011-title40-vol1-part35-subpartK.pdf

- https://www.epa.gov/dwsrf/bipartisan-infrastructure-law-srf-memorandum

| ## III. Built Environment Assessment Purpose: Briefly identify and summarize existing infrastructure, public health issues, housing issues, and economic development issues that might impact the development of new future wastewater infrastructure. This includes investigating the extent of available information and in what format it exists. |  |  |
| --- | --- | --- |
| ### Existing utilities | What is the location of existing sewer and water utilities serving properties in the area? Distance and capacities of existing sewer facilities to expand collection systems and wastewater treatment facility treatment and discharge; considerations for Responsible Management Entity (RME) role. Show areas covered by wastewater treatment facility collection systems. | ☐ |
|  | Are there any existing shared or cluster systems? If so, determine condition and ability to expand. | ☐ |
|  | What is the location and number of existing onsite wastewater treatment systems? If not known, propose means to collect this information. | ☐ |
|  | What inventory of onsite wastewater treatment system types are typical for area, age, and status for meeting current minimum standards? Contact the local health department to collect permit information and ask general questions about the different types of systems present within the community (i.e., are they all in similar condition and state of compliance). | ☐ |
|  | Any other utilities serving this area, such as stormwater or waste disposal sites, that may have impact on the project? Percent impervious surfaces and known stormwater problems. | ☐ |
|  | What are the local drinking water or surface water protection areas that may impact potential cluster system sites? E.g., source water protection areas can impact cluster system site potentials. | ☐ |
|  | Where is the nearest public water system? Is the area of interest served by one or more community public water systems? | ☐ |
|  | Are there any existing drinking water wells? Are the properties served by individual drinking water wells? If so, what are the well types: bedrock wells, gravel wells and springs. Does the well have a safety seal? Are there any private well data or studies? Note proximity (estimated distance) of drinking water wells to onsite wastewater systems. | ☐ |
| ### Public health issues | Are there known failed onsite wastewater treatment systems, public health diseases, or health impacts related to inadequate onsite wastewater treatment systems? This can include failure to accept wastewater into soil treatment area, structural deficiencies (inadequate construction materials or evidence of system collapse), frequent need for servicing, or surface wastewater breakout. | ☐ |
|  | Has a formal Septic Survey inspection been conducted in the area? | ☐ |
|  | Are there any existing environmental and public health data that can be utilized in support of the project? | ☐ |

| ## IV. Natural Environment Assessment Purpose: Briefly summarize the general watershed features that may have impact on wastewater infrastructure upgrades. |  |  |
| --- | --- | --- |
| ### Surface waters and water quality | Identify locations and proximity to surface waters that could impact wastewater infrastructure upgrades. E.g., rivers, streams, lakes, ponds, wetlands, flood zones and flood ways. | ☐ |
|  | Collect water quality and watershed information relevant to wastewater infrastructure upgrades. Identify and describe any studies on watersheds or water quality in area. Are any failing or substandard onsite wastewater treatment systems contributing to the problem? Is there any stream monitoring information on water levels or water quality? What is the proximity between onsite wastewater treatment systems and drainage ditches or intermittent streams? Are there any data on bacterial or nutrient impacts from onsite wastewater treatment systems, such as beach closures, algae blooms? Are there any known chemicals or contaminants of emerging concern impacting water quality in area? | ☐ |
|  | Are there climate change potential impacts in the area, such as higher precipitation, flooding, sea level rise, drought, extreme heat, and water shortage vulnerabilities? | ☐ |
| ### Groundwater and water quality | Are there groundwater resources, aquifers, main source used for drinking water in close proximity to onsite systems? | ☐ |
|  | Identify source water protection areas and all community water system sources in area. Are there any known water quality or quantity issues? | ☐ |
|  | Are there any existing groundwater wells with groundwater depths or water quality monitoring data in area? | ☐ |
| ### One-water approach | Identify any opportunities to "fix more than one problem," such as drainage, green infrastructure, lead service lines, water recycling (non-potable or potable). Are there opportunities for onsite non-potable reuse of wastewater for irrigation of landscaping and shade trees to combat extreme heat? | ☐ |
| ### Soils, topography and hydrogeology | Has the Natural Resources Conservation Service (NRCS) mapped soil types listed for the affected area? Is there a suitability ranking for the soils in the areas? Consider alternative one-water options if conventional septic system drainfields would not work in the area. | ☐ |
|  | Are there soils suitable for conventional onsite wastewater treatment systems or cluster systems in the area? Are these areas onsite, or on privately or publicly owned properties? | ☐ |
|  | What are the ground contours and slopes, exposed bedrock or other features that may limit installation of an onsite wastewater treatment system? | ☐ |

| ## V. Assessment of Need Purpose: Develop a brief report that summarizes and assesses the need for replacing septic systems with new onsite or off-site solutions. |  |  |
| --- | --- | --- |
| ### Data collection and analyses | Compile and organize available digital and paper sources related to wastewater and built conditions. Include sources such as U.S. Geological Survey (USGS) geographic data; Natural Resources Conservation Service (NRCS) soil types and rankings for onsite and cluster wastewater suitability; local or regional parcel size, locations, and property types; public water and sewer systems; and wastewater permits. Consider property owner survey questionnaires for targeted outreach and specific data on septic system conditions. Create tables and maps (figures) highlighting key information. Obtain any past planning studies relevant to wastewater infrastructure upgrades. | ☐ |
| ### Site reviews | On a case-by-case basis, conduct neighborhood level site reviews and determine accuracy of collected data. With assistance from local professionals, and government officials, conduct site screening visits to confirm information collected and mapping data on a case-by-case basis. This may include area drive- or walk-throughs, but not necessarily accessing private properties. This should be discussed further with the project team. | ☐ |
|  | On a case-by-case basis, conduct limited onsite evaluations as appropriate. Onsite visits to limited properties may be appropriate in cases where information on system(s) is not available. The visit may entail walking around the property and asking the property owner basic questions on the location and condition of their existing septic system, and to determine lot feasibility for replacing the system onsite. Work closely with the project team and community outreach lead(s) on this effort. This should be discussed further with the project team. | ☐ |
| ### Findings and conclusions | Use the information collected in the previous sections to inform the Solutions Plan. Summarize the need for onsite and/or offsite solutions. Document the decision-making process and determine whether additional study (e.g., GIS risk analysis) is needed before finalizing potential solution options in the Solutions Plan. | ☐ |
| ### GIS risk analyses (as needed) | If project requires additional review, discuss developing site evaluation criteria to support further analysis. The following four criteria below can be used to support the analyses. Criteria can include soils minimum criteria, proximity to surface waters and or groundwater tables or bedrock; proximity to drinking water sources, proximity to resources with known water quality issues. Create tables, figures, and text to visualize data and report on results, which may include the following: - Suitability of soils and site conditions for existing septic systems. - Suitability of soils and site conditions for onsite replacement with conventional or advanced treatment, reuse, or disposal technologies. - Proximity to areas of suitable soils and site conditions for off-site cluster systems. - Proximity to existing wastewater treatment facilities and collection systems. | ☐ |

| ## VI. Regulatory and Funding Environment Purpose: Briefly summarize the local, tribal, and state regulatory and funding environment to inform potential solution options. |  |  |
| --- | --- | --- |
| ### Regulations and permitting | What are the current regulations and permitting authorities for onsite wastewater treatment systems and cluster systems? What are the vertical separation distances between the bottom of the drainfield and groundwater, impervious layers, and bedrock? What are the horizontal setbacks required in the rules? Do the regulations allow for advanced (also called Innovative/Alternative) treatment and disposal technologies? What is the definition for a "failed" onsite wastewater treatment systems? How do the regulations and permit writers address site conditions that do not meet current regulations but where there is a failed or substandard onsite wastewater treatment system needing replacement? | ☐ |
|  | What are the current regulations and permitting authorities for municipal sewer systems and wastewater treatment facilities? Should any existing collection and wastewater treatment facility be evaluated as a potential solution? | ☐ |
|  | Are there any management requirements, or information on pump outs and other Operations and Maintenance (O&M) activities? Do any wastewater permits require inspection, sampling or reporting of O&M activities? | ☐ |
| ### Legal considerations | Will legal services be needed for executing project management or solutions? Are there any current court filings related to onsite wastewater treatment systems, legal restrictions for Responsible Management Entity (RME) or construction limitations? | ☐ |
|  | What limitations are present on the ability of potential funding applicants to access funding improvements for private property? Have easements been developed or used to accomplish investments on private property? Are these easements acceptable with respect to form and duration with regulators and lenders? | ☐ |
|  | Are municipal/county ordinances used to manage onsite wastewater or sewer connections? How would management entities handle O&M requirements for onsite or cluster system connections? | ☐ |
| ### Funding Mechanisms | What federal, state, or tribal funding programs should be considered? Identify potential grant programs that may support the project, including the use of Clean Water State Revolving Fund (CWSRF), Clean Water Act Indian Set-Aside (CWISA), or Nonpoint Source/319 grants and U.S. Department of Agriculture (USDA) funding for the project. Are there other funding programs such as State, Housing and Urban Development (HUD) Community Development Block Grant (CDBG), Federal Emergency Management Agency (FEMA), Rural Utilities Service (RUS), state conservation or public health agencies, Soil and Water Conservation Districts, or non-profit organization sources that might be available? Identify loan and grant limits and terms. What will be the required local or property owner match amount? | ☐ |
|  | What are the available sources for financing septic system upgrades? Collect information on property owners vs renters from the American Community Survey (ACS) before the kick-off meeting. Follow up during the kick-off meeting and in subsequent interviews to answer related questions: Who are the landlords and property managers? Are property owners tapping into home equity to finance septic improvements? Are local banks prepared to engage if individual loans are made to a property with an existing mortgage? What interest rates are typical for septic system upgrades? | ☐ |
|  | Are there any recommended changes to onsite wastewater treatment system regulation for innovative alternatives or management needed to access available CWSRF or USDA funding? Further, are there any changes that should be considered to federal, state, tribal, and/or local statute or regulations? Would state legislation changes be needed to allow the use of CWSRF funds for decentralized systems? | ☐ |
|  | Are there any “low-hanging fruit” opportunities to strengthen state, tribal, and/or local decentralized management programs? | ☐ |